## pooled_data
Cell line | PCV (uL) | % of Theoretical PCV | Cell type | Theoretical PCV (uL) | Replicate | Speed (g) | Time (min) | Centrifugation step
143B | 3.7 | 175.3555 | Adherent | 2.11 | 1 | 2000 | 1 | 1
143B | 3.8 | 180.0948 | Adherent | 2.11 | 2 | 2000 | 1 | 1
143B | 3.5 | 165.8768 | Adherent | 2.11 | 3 | 2000 | 1 | 1
143B | 3.7 | 175.3555 | Adherent | 2.11 | 4 | 2000 | 1 | 1
143B | 3.7 | 175.3555 | Adherent | 2.11 | 5 | 2000 | 1 | 1
143B | 3.7 | 175.3555 | Adherent | 2.11 | 6 | 2000 | 1 | 1
143B | 3.2 | 151.6588 | Adherent | 2.11 | 1 | 4696 | 1 | 2
143B | 3.2 | 151.6588 | Adherent | 2.11 | 2 | 4696 | 1 | 2
143B | 3.2 | 151.6588 | Adherent | 2.11 | 3 | 4696 | 1 | 2
143B | 3.4 | 161.1374 | Adherent | 2.11 | 4 | 4696 | 1 | 2
143B | 3.5 | 165.8768 | Adherent | 2.11 | 5 | 4696 | 1 | 2
143B | 3.2 | 151.6588 | Adherent | 2.11 | 6 | 4696 | 1 | 2
143B | 3 | 142.1801 | Adherent | 2.11 | 1 | 4696 | 5 | 3
143B | 3 | 142.1801 | Adherent | 2.11 | 2 | 4696 | 5 | 3
143B | 2.9 | 137.4408 | Adherent | 2.11 | 3 | 4696 | 5 | 3
143B | 2.9 | 137.4408 | Adherent | 2.11 | 4 | 4696 | 5 | 3
143B | 3 | 142.1801 | Adherent | 2.11 | 5 | 4696 | 5 | 3
143B | 3 | 142.1801 | Adherent | 2.11 | 6 | 4696 | 5 | 3
143B | 2.7 | 127.9621 | Adherent | 2.11 | 1 | 17000 | 1 | 4
143B | 2.7 | 127.9621 | Adherent | 2.11 | 2 | 17000 | 1 | 4
143B | 2.6 | 123.2227 | Adherent | 2.11 | 3 | 17000 | 1 | 4
143B | 2.5 | 118.4834 | Adherent | 2.11 | 4 | 17000 | 1 | 4
143B | 2.8 | 132.7014 | Adherent | 2.11 | 5 | 17000 | 1 | 4
143B | 2.7 | 127.9621 | Adherent | 2.11 | 6 | 17000 | 1 | 4
143B | 2.4 | 113.7441 | Adherent | 2.11 | 1 | 17000 | 5 | 5
143B | 2.6 | 123.2227 | Adherent | 2.11 | 2 | 17000 | 5 | 5
143B | 2.4 | 113.7441 | Adherent | 2.11 | 3 | 17000 | 5 | 5
143B | 2.4 | 113.7441 | Adherent | 2.11 | 4 | 17000 | 5 | 5
143B | 2.6 | 123.2227 | Adherent | 2.11 | 5 | 17000 | 5 | 5
143B | 2.5 | 118.4834 | Adherent | 2.11 | 6 | 17000 | 5 | 5
H1299 | 2.7 | 127.9621 | Adherent | 2.11 | 1 | 2000 | 1 | 1
H1299 | 2.8 | 132.7014 | Adherent | 2.11 | 2 | 2000 | 1 | 1
H1299 | 2.7 | 127.9621 | Adherent | 2.11 | 3 | 2000 | 1 | 1
H1299 | 2.6 | 123.2227 | Adherent | 2.11 | 4 | 2000 | 1 | 1
H1299 | 2.8 | 132.7014 | Adherent | 2.11 | 5 | 2000 | 1 | 1
H1299 | 2.9 | 137.4408 | Adherent | 2.11 | 6 | 2000 | 1 | 1
H1299 | 2.5 | 118.4834 | Adherent | 2.11 | 1 | 4696 | 1 | 2
H1299 | 2.6 | 123.2227 | Adherent | 2.11 | 2 | 4696 | 1 | 2
H1299 | 2.5 | 118.4834 | Adherent | 2.11 | 3 | 4696 | 1 | 2
H1299 | 2.3 | 109.0047 | Adherent | 2.11 | 4 | 4696 | 1 | 2
H1299 | 2.6 | 123.2227 | Adherent | 2.11 | 5 | 4696 | 1 | 2
H1299 | 2.7 | 127.9621 | Adherent | 2.11 | 6 | 4696 | 1 | 2
H1299 | 2.3 | 109.0047 | Adherent | 2.11 | 1 | 4696 | 5 | 3
H1299 | 2.5 | 118.4834 | Adherent | 2.11 | 2 | 4696 | 5 | 3
H1299 | 2.3 | 109.0047 | Adherent | 2.11 | 3 | 4696 | 5 | 3
H1299 | 2.2 | 104.2654 | Adherent | 2.11 | 4 | 4696 | 5 | 3
H1299 | 2.6 | 123.2227 | Adherent | 2.11 | 5 | 4696 | 5 | 3
H1299 | 2.7 | 127.9621 | Adherent | 2.11 | 6 | 4696 | 5 | 3
H1299 | 2.2 | 104.2654 | Adherent | 2.11 | 1 | 17000 | 1 | 4
H1299 | 2.5 | 118.4834 | Adherent | 2.11 | 2 | 17000 | 1 | 4
H1299 | 2.3 | 109.0047 | Adherent | 2.11 | 3 | 17000 | 1 | 4
H1299 | 2.2 | 104.2654 | Adherent | 2.11 | 4 | 17000 | 1 | 4
H1299 | 2.5 | 118.4834 | Adherent | 2.11 | 5 | 17000 | 1 | 4
H1299 | 2.6 | 123.2227 | Adherent | 2.11 | 6 | 17000 | 1 | 4
H1299 | 2.2 | 104.2654 | Adherent | 2.11 | 1 | 17000 | 5 | 5
H1299 | 2.4 | 113.7441 | Adherent | 2.11 | 2 | 17000 | 5 | 5
H1299 | 2.3 | 109.0047 | Adherent | 2.11 | 3 | 17000 | 5 | 5
H1299 | 2.2 | 104.2654 | Adherent | 2.11 | 4 | 17000 | 5 | 5
H1299 | 2.5 | 118.4834 | Adherent | 2.11 | 5 | 17000 | 5 | 5
H1299 | 2.5 | 118.4834 | Adherent | 2.11 | 6 | 17000 | 5 | 5
A549 | 3 | 136.3636 | Adherent | 2.2 | 1 | 2000 | 1 | 1
A549 | 2.6 | 118.1818 | Adherent | 2.2 | 2 | 2000 | 1 | 1
A549 | 2.6 | 118.1818 | Adherent | 2.2 | 3 | 2000 | 1 | 1
A549 | 2.4 | 109.0909 | Adherent | 2.2 | 4 | 2000 | 1 | 1
A549 | 2.4 | 109.0909 | Adherent | 2.2 | 5 | 2000 | 1 | 1
A549 | 2.5 | 113.6364 | Adherent | 2.2 | 6 | 2000 | 1 | 1
A549 | 2.8 | 127.2727 | Adherent | 2.2 | 1 | 4696 | 1 | 2
A549 | 2.5 | 113.6364 | Adherent | 2.2 | 2 | 4696 | 1 | 2
A549 | 2.5 | 113.6364 | Adherent | 2.2 | 3 | 4696 | 1 | 2
A549 | 2.3 | 104.5455 | Adherent | 2.2 | 4 | 4696 | 1 | 2
A549 | 2.3 | 104.5455 | Adherent | 2.2 | 5 | 4696 | 1 | 2
A549 | 2.4 | 109.0909 | Adherent | 2.2 | 6 | 4696 | 1 | 2
A549 | 2.6 | 118.1818 | Adherent | 2.2 | 1 | 4696 | 5 | 3
A549 | 2.3 | 104.5455 | Adherent | 2.2 | 2 | 4696 | 5 | 3
A549 | 2.4 | 109.0909 | Adherent | 2.2 | 3 | 4696 | 5 | 3
A549 | 2.2 | 100 | Adherent | 2.2 | 4 | 4696 | 5 | 3
A549 | 2.1 | 95.4545 | Adherent | 2.2 | 5 | 4696 | 5 | 3
A549 | 2.3 | 104.5455 | Adherent | 2.2 | 6 | 4696 | 5 | 3
A549 | 2.4 | 109.0909 | Adherent | 2.2 | 1 | 17000 | 1 | 4
A549 | 2.3 | 104.5455 | Adherent | 2.2 | 2 | 17000 | 1 | 4
A549 | 2.3 | 104.5455 | Adherent | 2.2 | 3 | 17000 | 1 | 4
A549 | 2 | 90.9091 | Adherent | 2.2 | 4 | 17000 | 1 | 4
A549 | 2 | 90.9091 | Adherent | 2.2 | 5 | 17000 | 1 | 4
A549 | 2.2 | 100 | Adherent | 2.2 | 6 | 17000 | 1 | 4
A549 | 2.3 | 104.5455 | Adherent | 2.2 | 1 | 17000 | 5 | 5
A549 | 2.1 | 95.4545 | Adherent | 2.2 | 2 | 17000 | 5 | 5
A549 | 2.1 | 95.4545 | Adherent | 2.2 | 3 | 17000 | 5 | 5
A549 | 1.9 | 86.3636 | Adherent | 2.2 | 4 | 17000 | 5 | 5
A549 | 1.9 | 86.3636 | Adherent | 2.2 | 5 | 17000 | 5 | 5
A549 | 2.1 | 95.4545 | Adherent | 2.2 | 6 | 17000 | 5 | 5
TF1 | 2.4 | 109.589 | Suspension | 2.19 | 1 | 2000 | 1 | 1
TF1 | 2.6 | 118.7215 | Suspension | 2.19 | 2 | 2000 | 1 | 1
TF1 | 2.6 | 118.7215 | Suspension | 2.19 | 3 | 2000 | 1 | 1
TF1 | 2.7 | 123.2877 | Suspension | 2.19 | 4 | 2000 | 1 | 1
TF1 | 2.4 | 109.589 | Suspension | 2.19 | 5 | 2000 | 1 | 1
TF1 | 2.5 | 114.1553 | Suspension | 2.19 | 6 | 2000 | 1 | 1
TF1 | 2.1 | 95.8904 | Suspension | 2.19 | 1 | 4696 | 1 | 2
TF1 | 2.4 | 109.589 | Suspension | 2.19 | 2 | 4696 | 1 | 2
TF1 | 2.4 | 109.589 | Suspension | 2.19 | 3 | 4696 | 1 | 2
TF1 | 2.5 | 114.1553 | Suspension | 2.19 | 4 | 4696 | 1 | 2
TF1 | 2.1 | 95.8904 | Suspension | 2.19 | 5 | 4696 | 1 | 2
TF1 | 2.2 | 100.4566 | Suspension | 2.19 | 6 | 4696 | 1 | 2
TF1 | 2 | 91.3242 | Suspension | 2.19 | 1 | 4696 | 5 | 3
TF1 | 2.2 | 100.4566 | Suspension | 2.19 | 2 | 4696 | 5 | 3
TF1 | 2.2 | 100.4566 | Suspension | 2.19 | 3 | 4696 | 5 | 3
TF1 | 2.3 | 105.0228 | Suspension | 2.19 | 4 | 4696 | 5 | 3
TF1 | 2 | 91.3242 | Suspension | 2.19 | 5 | 4696 | 5 | 3
TF1 | 2 | 91.3242 | Suspension | 2.19 | 6 | 4696 | 5 | 3
TF1 | 1.8 | 82.1918 | Suspension | 2.19 | 1 | 17000 | 1 | 4
TF1 | 2 | 91.3242 | Suspension | 2.19 | 2 | 17000 | 1 | 4
TF1 | 2 | 91.3242 | Suspension | 2.19 | 3 | 17000 | 1 | 4
TF1 | 2.1 | 95.8904 | Suspension | 2.19 | 4 | 17000 | 1 | 4
TF1 | 1.9 | 86.758 | Suspension | 2.19 | 5 | 17000 | 1 | 4
TF1 | 1.9 | 86.758 | Suspension | 2.19 | 6 | 17000 | 1 | 4
TF1 | 1.8 | 82.1918 | Suspension | 2.19 | 1 | 17000 | 5 | 5
TF1 | 2 | 91.3242 | Suspension | 2.19 | 2 | 17000 | 5 | 5
TF1 | 2 | 91.3242 | Suspension | 2.19 | 3 | 17000 | 5 | 5
TF1 | 2.1 | 95.8904 | Suspension | 2.19 | 4 | 17000 | 5 | 5
TF1 | 1.8 | 82.1918 | Suspension | 2.19 | 5 | 17000 | 5 | 5
TF1 | 1.9 | 86.758 | Suspension | 2.19 | 6 | 17000 | 5 | 5
JURKAT | 2.4 | 112.6761 | Suspension | 2.13 | 1 | 2000 | 1 | 1
JURKAT | 2.4 | 112.6761 | Suspension | 2.13 | 2 | 2000 | 1 | 1
JURKAT | 2.4 | 112.6761 | Suspension | 2.13 | 3 | 2000 | 1 | 1
JURKAT | 2.3 | 107.9812 | Suspension | 2.13 | 4 | 2000 | 1 | 1
JURKAT | 2.3 | 107.9812 | Suspension | 2.13 | 5 | 2000 | 1 | 1
JURKAT | 2.6 | 122.0657 | Suspension | 2.13 | 6 | 2000 | 1 | 1
JURKAT | 2.1 | 98.5915 | Suspension | 2.13 | 1 | 4696 | 1 | 2
JURKAT | 2.2 | 103.2864 | Suspension | 2.13 | 2 | 4696 | 1 | 2
JURKAT | 2.1 | 98.5915 | Suspension | 2.13 | 3 | 4696 | 1 | 2
JURKAT | 2 | 93.8967 | Suspension | 2.13 | 4 | 4696 | 1 | 2
JURKAT | 2.1 | 98.5915 | Suspension | 2.13 | 5 | 4696 | 1 | 2
JURKAT | 2.5 | 117.3709 | Suspension | 2.13 | 6 | 4696 | 1 | 2
JURKAT | 2 | 93.8967 | Suspension | 2.13 | 1 | 4696 | 5 | 3
JURKAT | 2 | 93.8967 | Suspension | 2.13 | 2 | 4696 | 5 | 3
JURKAT | 2 | 93.8967 | Suspension | 2.13 | 3 | 4696 | 5 | 3
JURKAT | 1.9 | 89.2019 | Suspension | 2.13 | 4 | 4696 | 5 | 3
JURKAT | 2 | 93.8967 | Suspension | 2.13 | 5 | 4696 | 5 | 3
JURKAT | 2.2 | 103.2864 | Suspension | 2.13 | 6 | 4696 | 5 | 3
JURKAT | 1.9 | 89.2019 | Suspension | 2.13 | 1 | 17000 | 1 | 4
JURKAT | 2 | 93.8967 | Suspension | 2.13 | 2 | 17000 | 1 | 4
JURKAT | 2 | 93.8967 | Suspension | 2.13 | 3 | 17000 | 1 | 4
JURKAT | 1.9 | 89.2019 | Suspension | 2.13 | 4 | 17000 | 1 | 4
JURKAT | 1.9 | 89.2019 | Suspension | 2.13 | 5 | 17000 | 1 | 4
JURKAT | 2.2 | 103.2864 | Suspension | 2.13 | 6 | 17000 | 1 | 4
JURKAT | 1.8 | 84.507 | Suspension | 2.13 | 1 | 17000 | 5 | 5
JURKAT | 2 | 93.8967 | Suspension | 2.13 | 2 | 17000 | 5 | 5
JURKAT | 2 | 93.8967 | Suspension | 2.13 | 3 | 17000 | 5 | 5
JURKAT | 1.8 | 84.507 | Suspension | 2.13 | 4 | 17000 | 5 | 5
JURKAT | 1.8 | 84.507 | Suspension | 2.13 | 5 | 17000 | 5 | 5
JURKAT | 2.2 | 103.2864 | Suspension | 2.13 | 6 | 17000 | 5 | 5

## 143b results
143b |  |  |  |  | measured packed cell volume (ul)
|  |  | speed (g) | 2000 | 4696 | 4696 | 17000 | 17000
replicate number | volume used | Theoretical volume | time (min) | 1 | 1 | 5 | 1 | 5
1 | 100ul | 2.11 ul |  | 3.7 | 3.2 | 3 | 2.7 | 2.4
2 | 100ul | 2.11 ul |  | 3.8 | 3.2 | 3 | 2.7 | 2.6
3 | 100ul | 2.11 ul |  | 3.5 | 3.2 | 2.9 | 2.6 | 2.4
4 | 100ul | 2.11 ul |  | 3.7 | 3.4 | 2.9 | 2.5 | 2.4
5 | 100ul | 2.11 ul |  | 3.7 | 3.5 | 3 | 2.8 | 2.6
6 | 100ul | 2.11 ul |  | 3.7 | 3.2 | 3 | 2.7 | 2.5
|  |  | avg | 3.6833 | 3.2833 | 2.9667 | 2.6667 | 2.4833
|  |  | step | 1 | 2 | 3 | 4 | 5
|  |  | %theoretical | 174.5656 | 155.6082 | 140.6003 | 126.3823 | 117.6935

## H1299 results
H1299 |  |  |  |  | measured packed cell volume (ul)
|  |  | speed (g) | 2000 | 4696 | 4696 | 17000 | 17000
replicate number | volume used | Theoretical volume | time (min) | 1 | 1 | 5 | 1 | 5
1 | 118ul | 2.11ul |  | 2.7 | 2.5 | 2.3 | 2.2 | 2.2
2 | 118ul | 2.11ul |  | 2.8 | 2.6 | 2.5 | 2.5 | 2.4
3 | 118ul | 2.11ul |  | 2.7 | 2.5 | 2.3 | 2.3 | 2.3
4 | 118ul | 2.11ul |  | 2.6 | 2.3 | 2.2 | 2.2 | 2.2
5 | 118ul | 2.11ul |  | 2.8 | 2.6 | 2.6 | 2.5 | 2.5
6 | 118ul | 2.11ul |  | 2.9 | 2.7 | 2.7 | 2.6 | 2.5
|  |  | average | 2.75 | 2.5333 | 2.4333 | 2.3833 | 2.35
|  |  | step | 1 | 2 | 3 | 4 | 5
|  |  | %theoretical | 130.3318 | 120.0632 | 115.3239 | 112.9542 | 111.3744

## A549 results
A549 |  |  |  |  | measured packed cell volume (ul)
|  |  | speed (g) | 2000 | 4696 | 4696 | 17000 | 17000
replicate number | volume used | Theoretical volume | time (min) | 1 | 1 | 5 | 1 | 5
1 | 222ul | 2.20 ul |  | 3 | 2.8 | 2.6 | 2.4 | 2.3
2 | 222ul | 2.20 ul |  | 2.6 | 2.5 | 2.3 | 2.3 | 2.1
3 | 222ul | 2.20 ul |  | 2.6 | 2.5 | 2.4 | 2.3 | 2.1
4 | 222ul | 2.20 ul |  | 2.4 | 2.3 | 2.2 | 2 | 1.9
5 | 222ul | 2.20 ul |  | 2.4 | 2.3 | 2.1 | 2 | 1.9
6 | 222ul | 2.20 ul |  | 2.5 | 2.4 | 2.3 | 2.2 | 2.1
|  |  | average | 2.5833 | 2.4667 | 2.3167 | 2.2 | 2.0667
|  |  | step | 1 | 2 | 3 | 4 | 5
|  |  | %theoretical | 117.4242 | 112.1212 | 105.303 | 100 | 93.9394

## TF1 results
TF1 |  |  |  |  | measured packed cell volume (ul)
|  |  | speed (g) | 2000 | 4696 | 4696 | 17000 | 17000
replicate number | volume used | Theoretical volume | time (min) | 1 | 1 | 5 | 1 | 5
1 | 700ul | 2.19ul |  | 2.4 | 2.1 | 2 | 1.8 | 1.8
2 | 700ul | 2.19ul |  | 2.6 | 2.4 | 2.2 | 2 | 2
3 | 700ul | 2.19ul |  | 2.6 | 2.4 | 2.2 | 2 | 2
4 | 700ul | 2.19ul |  | 2.7 | 2.5 | 2.3 | 2.1 | 2.1
5 | 700ul | 2.19ul |  | 2.4 | 2.1 | 2 | 1.9 | 1.8
6 | 700ul | 2.19ul |  | 2.5 | 2.2 | 2 | 1.9 | 1.9
|  |  | average | 2.5333 | 2.2833 | 2.1167 | 1.95 | 1.9333
|  |  | step | 1 | 2 | 3 | 4 | 5
|  |  | %theoretical | 115.6773 | 104.2618 | 96.6514 | 89.0411 | 88.2801

## Jurkat results
Jurkat Data |  |  |  |  | measured packed cell volume (ul)
|  |  | speed (g) | 2000 | 4696 | 4696 | 17000 | 17000
replicate number | volume used | Theoretical volume | time (min) | 1 | 1 | 5 | 1 | 5
1 | 891ul | 2.13 ul |  | 2.4 | 2.1 | 2 | 1.9 | 1.8
2 | 891ul | 2.13 ul |  | 2.4 | 2.2 | 2 | 2 | 2
3 | 891ul | 2.13 ul |  | 2.4 | 2.1 | 2 | 2 | 2
4 | 891ul | 2.13 ul |  | 2.3 | 2 | 1.9 | 1.9 | 1.8
5 | 891ul | 2.13 ul |  | 2.3 | 2.1 | 2 | 1.9 | 1.8
6 | 891ul | 2.13 ul |  | 2.6 | 2.5 | 2.2 | 2.2 | 2.2
|  |  |  | 2.4 | 2.1667 | 2.0167 | 1.9833 | 1.9333
7 | 860.8ul | 2ul |  | 3 | 2.3 | 2.1 | 2 | 2
|  |  | step | 1 | 2 | 3 | 4 | 5
|  |  | % theoretical | 112.6761 | 101.7214 | 94.6792 | 93.1142 | 90.7668

## H1299 calculations
Sample ID | File ID | File name | Control mode | Acquired | Counts above threshold | Coincidence corrected | From | To | Number | Mean | Median | S.D. |  | volume
| h1299_centri | h1299_centri__16 Sep 2020_01.#m4 | Volumetric, 500 uL | 2020-09-16 18:43 | 10524 | 11351 | 14.35 | 33.32 | 3576000 | 20.62 | 20.33 | 2.508 |  | 4819
| h1299_centri | h1299_centri__16 Sep 2020_02.#m4 | Volumetric, 500 uL | 2020-09-16 18:45 | 10982 | 11838 | 14.35 | 33.32 | 3667000 | 20.76 | 20.43 | 2.599 |  | 4908
| h1299_centri | h1299_centri__16 Sep 2020_03.#m4 | Volumetric, 500 uL | 2020-09-16 18:45 | 11130 | 12033 | 14.35 | 33.32 | 3724000 | 20.81 | 20.53 | 2.532 |  | 4946
4891
[8 empty] | Avg | 3655666.6667 | 20.73 | 20.43 | 2.5463
[6 empty] | pipette mL | # of cells | total volume um^3 |  | volume uL | volume uL adjusted up 30% |  |  |  | volume/cell:
[6 empty] | 1 | 3655666.6667 | 17879865666.6667 |  | 17.8799 | 23.2438 |  |  |  | 4891 | cubic uM
[6 empty] | 0.89146 | 3258876.951 | 15939167167.341 |  | 15.9392 | 20.7209
[6 empty] | 0.067 | 244929.6667 | 1197950999.6667 |  | 1.198 | 1.5573
[6 empty] | 0.04 | 146226.6667 | 715194626.6667 |  | 0.71519 | 0.92975
[6 empty] | 0.11815 | 431927.9837 | 2112559768.1137 |  | 2.1126 | 2.7463
[6 empty] | 0.01 | 36556.6667 | 178798656.6667 |  | 0.1788 | 0.23244
[6 empty] | 0.005 | 18278.3333 | 89399328.3333 |  | 0.089399 | 0.11622
volume = cell volume * number of cells.
volume = cell volume * pipette mL * cells / mL
[8 empty] | pipette mL = volume / cell volume / (cell/mL) |  |  |  |  | 0.11186 | Volume to pipette for theoretical volume of 2ul

## Jurkat calculations
Sample ID | File ID | File name | Control mode | Acquired | Counts above threshold | Coincidence corrected | From | To | Number | Mean | Median | S.D. |  | volume
triplet1 | jurkat_coultervcentri | jurkat_coultervcentri_triplet1_28 Aug 2020_01.#m4 | Volumetric, 500 uL | 2020-08-28 16:24 | 16047 | 16906 | 5 | 50 | 3233000 | 10.88 | 10.88 | 1.706 |  | 749.9
triplet1 | jurkat_coultervcentri | jurkat_coultervcentri_triplet1_28 Aug 2020_02.#m4 | Volumetric, 500 uL | 2020-08-28 16:25 | 16026 | 16873 | 5 | 50 | 3236000 | 10.83 | 10.87 | 1.735 |  | 740.8
triplet1 | jurkat_coultervcentri | jurkat_coultervcentri_triplet1_28 Aug 2020_03.#m4 | Volumetric, 500 uL | 2020-08-28 16:26 | 15893 | 16724 | 5 | 50 | 3203000 | 10.8 | 10.82 | 1.747 |  | 738.3
743
[8 empty] | Avg | 3224000 | 10.8367 | 10.8567 | 1.7293
[6 empty] | pipette mL | # of cells | total volume um^3 |  | volume uL | volume uL adjusted up 30% |  |  |  | volume/cell:
[6 empty] | 1 | 3224000 | 2395432000 |  | 2.3954 | 3.1141 |  |  |  | 743 | cubic uM
[6 empty] | 0.891 | 2872584 | 2134329912 |  | 2.1343 | 2.7746
[6 empty] | 0.067 | 216008 | 160493944 |  | 0.16049 | 0.20864
[6 empty] | 0.04 | 128960 | 95817280 |  | 0.095817 | 0.12456
[6 empty] | 0.02 | 64480 | 47908640 |  | 0.047909 | 0.062281
[6 empty] | 0.01 | 32240 | 23954320 |  | 0.023954 | 0.031141
[6 empty] | 0.005 | 16120 | 11977160 |  | 0.011977 | 0.01557
volume = cell volume * number of cells.
volume = cell volume * pipette mL * cells / mL
[8 empty] | pipette mL = volume / cell volume / (cell/mL) |  |  |  |  | 0.83492

## A549 calculations
Sample ID | File ID | File name | Control mode | Acquired | Counts above threshold | Coincidence corrected | From | To | Number | Mean | Median | S.D. |  | volume
| a549 | a549__ 2 Oct 2020_02.#m4 | Volumetric, 500 uL | 2020-10-02 14:47 | 8753 | 9162 | 11.75 | 34.47 | 3032000 | 17.76 | 17.35 | 2.683 |  | 3196
| a549 | a549__ 2 Oct 2020_03.#m4 | Volumetric, 500 uL | 2020-10-02 14:49 | 8857 | 9283 | 11.75 | 34.47 | 3085000 | 17.88 | 17.45 | 2.764 |  | 3279
| a549 | a549__ 2 Oct 2020_04.#m4 | Volumetric, 500 uL | 2020-10-02 14:49 | 9070 | 9514 | 11.75 | 34.47 | 3082000 | 17.81 | 17.4 | 2.653 |  | 3219
3231.3333
[8 empty] | Avg | 3066333.3333 | 17.8167 | 17.4 | 2.7
[6 empty] | pipette mL | # of cells | total volume um^3 |  | volume uL | volume uL adjusted up 30% |  |  |  | volume/cell:
[6 empty] | 1 | 3066333.3333 | 9908345111.1111 |  | 9.9083 | 12.8808 |  |  |  | 3231.3333 | cubic uM
[6 empty] | 0.89146 | 2733510.447 | 8832883424.406 |  | 8.8329 | 11.4827
[6 empty] | 0.067 | 205444.3333 | 663859122.4444 |  | 0.66386 | 0.86302
[6 empty] | 0.04 | 122653.3333 | 396333804.4444 |  | 0.39633 | 0.51523
[6 empty] | 0.222 | 680726 | 2199652614.6667 |  | 2.1997 | 2.8595
[6 empty] | 0.01 | 30663.3333 | 99083451.1111 |  | 0.099083 | 0.12881
[6 empty] | 0.005 | 15331.6667 | 49541725.5556 |  | 0.049542 | 0.064404
volume = cell volume * number of cells.
volume = cell volume * pipette mL * cells / mL
[8 empty] | pipette mL = volume / cell volume / (cell/mL) |  |  |  |  | 0.20185

## 143b calculations
Sample ID | File ID | File name | Control mode | Acquired | Counts above threshold | Coincidence corrected | From | To | Number | Mean | Median | S.D. |  | volume
tripicate1 | 143b_coultervcentri | 143b_coultervcentri_tripicate1_28 Aug 2020_01.#m4 | Volumetric, 500 uL | 2020-08-28 17:56 | 21765 | 24431 | 11.75 | 27.95 | 7515000 | 17.3 | 17.07 | 2.108 |  | 2861
tripicate1 | 143b_coultervcentri | 143b_coultervcentri_tripicate1_28 Aug 2020_02.#m4 | Volumetric, 500 uL | 2020-08-28 17:57 | 21241 | 23728 | 11.75 | 27.95 | 7352000 | 17.39 | 17.15 | 2.135 |  | 2899
tripicate1 | 143b_coultervcentri | 143b_coultervcentri_tripicate1_28 Aug 2020_03.#m4 | Volumetric, 500 uL | 2020-08-28 17:58 | 21037 | 23449 | 11.75 | 27.95 | 7106000 | 17.35 | 17.16 | 2.156 |  | 2893
2884.3333
[8 empty] | Avg | 7324333.3333 | 17.3467 | 17.1267 | 2.133
[6 empty] | pipette mL | # of cells | total volume um^3 |  | volume uL | volume uL adjusted up 30% |  |  |  | volume/cell: |  | cubic uM
[6 empty] | 1 | 7324333.3333 | 21125818777.7778 |  | 21.1258 | 27.4636 |  |  |  | 2884.3333 | cubic uM
[6 empty] | 0.89146 | 6529342.869 | 18832801281.819 |  | 18.8328 | 24.4826
[6 empty] | 0.1 | 732433.3333 | 2112581877.7778 |  | 2.1126 | 2.7464
[6 empty] | 0.04 | 292973.3333 | 845032751.1111 |  | 0.84503 | 1.0985
[6 empty] | 0.02 | 146486.6667 | 422516375.5556 |  | 0.42252 | 0.54927
[6 empty] | 0.01 | 73243.3333 | 211258187.7778 |  | 0.21126 | 0.27464
[6 empty] | 0.005 | 36621.6667 | 105629093.8889 |  | 0.10563 | 0.13732
volume = cell volume * number of cells.
volume = cell volume * pipette mL * cells / mL
[8 empty] | pipette mL = volume / cell volume / (cell/mL) |  |  |  |  | 0.094671

## TF1 calculations
Sample ID | File ID | File name | Control mode | Acquired | Counts above threshold | Coincidence corrected | From | To | Number | Mean | Median | S.D. |  | volume
| tf1_IE | tf1_IE__16 Oct 2020_01.#m4 | Volumetric, 500 uL | 2020-10-16 13:22 | 5449 | 5568 | 11.52 | 28.63 | 1793000 | 14.94 | 14.62 | 1.901 |  | 1724
| tf1_IE | tf1_IE__16 Oct 2020_02.#m4 | Volumetric, 500 uL | 2020-10-16 13:24 | 5641 | 5766 | 11.52 | 28.63 | 1750000 | 14.95 | 14.66 | 1.948 |  | 1771
| tf1_IE | tf1_IE__16 Oct 2020_03.#m4 | Volumetric, 500 uL | 2020-10-16 13:25 | 5917 | 6053 | 11.52 | 28.63 | 1793000 | 14.93 | 14.64 | 1.943 |  | 1784
1759.6667
[8 empty] | Avg | 1778666.6667 | 14.94 | 14.64 | 1.9307
[6 empty] | pipette mL | # of cells | total volume um^3 |  | volume uL | volume uL adjusted up 30% |  |  |  |  | volume/cell:
[6 empty] | 1 | 1778666.6667 | 3129860444.4444 |  | 3.1299 | 4.0688 |  |  |  |  | 1759.6667 | cubic uM
[6 empty] | 0.89146 | 1585608.408 | 2790142261.944 |  | 2.7901 | 3.6272
[6 empty] | 0.067 | 119170.6667 | 209700649.7778 |  | 0.2097 | 0.27261
[6 empty] | 0.04 | 71146.6667 | 125194417.7778 |  | 0.12519 | 0.16275
[6 empty] | 0.7 | 1245066.6667 | 2190902311.1111 |  | 2.1909 | 2.8482
[6 empty] | 0.01 | 17786.6667 | 31298604.4444 |  | 0.031299 | 0.040688
[6 empty] | 0.005 | 8893.3333 | 15649302.2222 |  | 0.015649 | 0.020344
volume = cell volume * number of cells.
volume = cell volume * pipette mL * cells / mL
4.2
[8 empty] | pipette mL = volume / cell volume / (cell/mL) |  |  |  |  | 0.63901