## Lactate neg
Compound | RT | Type | Filename | Area | Response Ratio | ISTD Response | Flag Details
Lactate neg | 6.14 | Target Compound | KD111423_111423_PM01 | 36812655 | 25.888 | 1422019
Lactate neg | 6.14 | Target Compound | KD111423_111423_PM02 | 44481459 | 32.187 | 1381978
Lactate neg | 6.14 | Target Compound | KD111423_111423_PM03 | 55185844652 | 0 | N/F
Lactate neg | 6.14 | Target Compound | KD111423_111423_PM04 | 51281029476 | 0 | N/F
Lactate neg | 6.14 | Target Compound | KD111423_111423_PM05 | 39214969 | 26.917 | 1456883
Lactate neg | 6.14 | Target Compound | KD111423_111423_PM06 | 49499459 | 34.542 | 1433014
Lactate neg | 6.14 | Target Compound | KD111423_111423_PM07 | 50077577588 | 0 | N/F
Lactate neg | 6.14 | Target Compound | KD111423_111423_PM08 | 50847776485 | 0 | N/F
Lactate neg | 6.14 | Target Compound | KD111423_111423_PM09 | 37758358 | 27.237 | 1386285
Lactate neg | 6.14 | Target Compound | KD111423_111423_PM10 | 41463772 | 31.317 | 1324003
Lactate neg | 6.14 | Target Compound | KD111423_111423_PM11 | 49136370889 | 0 | N/F
Lactate neg | 6.14 | Target Compound | KD111423_111423_PM12 | 48175323288 | 0 | N/F
Lactate neg | 6.14 | Target Compound | KD111423_111423_PM13 | 1828637700 | 1601.237 | 1142016
Lactate neg | 6.14 | Target Compound | KD111423_111423_PM14 | 1703783579 | 1637.916 | 1040214
Lactate neg | 6.14 | Target Compound | KD111423_111423_PM15 | 51717173309 | 0 | N/F
Lactate neg | 6.14 | Target Compound | KD111423_111423_PM16 | 51452272386 | 0 | N/F
Lactate neg | 6.14 | Target Compound | KD111623_112023_PC01 | 36816898 | 30.641 | 1201565
Lactate neg | 6.14 | Target Compound | KD111623_112023_PC02 | 36229468 | 30.626 | 1182962
Lactate neg | 6.14 | Target Compound | KD111623_112023_PC03 | 39188651 | 31.802 | 1232285
Lactate neg | 6.14 | Target Compound | KD111623_112023_PC04 | 37162313 | 31.106 | 1194716
Lactate neg | 6.14 | Target Compound | KD111623_112023_PC05 | 37720714 | 29.944 | 1259711
Lactate neg | 6.14 | Target Compound | KD111623_112023_PC06 | 36417920 | 30.336 | 1200473
Lactate neg | 6.14 | Target Compound | KD111623_112023_PC07 | 47812990075 | 0 | N/F
Lactate neg | 6.14 | Target Compound | KD111623_112023_PC08 | 47560146214 | 0 | N/F
Lactate neg | 6.14 | Target Compound | KD111623_112023_PC09 | 50224347984 | 0 | N/F
Lactate neg | 6.14 | Target Compound | KD111623_112023_PC10 | 48475233280 | 0 | N/F

## Lactate U-13C neg
Compound | RT | Type | Filename | Area | Response Ratio | ISTD Response | Flag Details
Lactate U-13C neg | 6.14 | Internal Standard | KD111423_111423_PM01 | 1422019 | N/A | N/A | 6.110:Peak area 1422018.536 is out of bounds (ISTD Minimum Recovery 0.000 and ISTD Max Recovery 0.000). 6.110:Apex Retention Time 6.110 is out of bounds (ISTD Min RT -0.250 and ISTD Max RT 0.250)
Lactate U-13C neg | 6.14 | Internal Standard | KD111423_111423_PM02 | 1381978 | N/A | N/A | 6.109:Peak area 1381978.423 is out of bounds (ISTD Minimum Recovery 0.000 and ISTD Max Recovery 0.000). 6.109:Apex Retention Time 6.109 is out of bounds (ISTD Min RT -0.250 and ISTD Max RT 0.250)
Lactate U-13C neg | 6.14 | Internal Standard | KD111423_111423_PM03 | N/F | N/F | N/A | Internal Standard Compound has peaks that are not found.
Lactate U-13C neg | 6.14 | Internal Standard | KD111423_111423_PM04 | N/F | N/F | N/A | Internal Standard Compound has peaks that are not found.
Lactate U-13C neg | 6.14 | Internal Standard | KD111423_111423_PM05 | 1456883 | N/A | N/A | 6.110:Peak area 1456882.796 is out of bounds (ISTD Minimum Recovery 0.000 and ISTD Max Recovery 0.000). 6.110:Apex Retention Time 6.110 is out of bounds (ISTD Min RT -0.250 and ISTD Max RT 0.250)
Lactate U-13C neg | 6.14 | Internal Standard | KD111423_111423_PM06 | 1433014 | N/A | N/A | 6.087:Peak area 1433014.144 is out of bounds (ISTD Minimum Recovery 0.000 and ISTD Max Recovery 0.000). 6.087:Apex Retention Time 6.087 is out of bounds (ISTD Min RT -0.250 and ISTD Max RT 0.250)
Lactate U-13C neg | 6.14 | Internal Standard | KD111423_111423_PM07 | N/F | N/F | N/A | Internal Standard Compound has peaks that are not found.
Lactate U-13C neg | 6.14 | Internal Standard | KD111423_111423_PM08 | N/F | N/F | N/A | Internal Standard Compound has peaks that are not found.
Lactate U-13C neg | 6.14 | Internal Standard | KD111423_111423_PM09 | 1386285 | N/A | N/A | 6.131:Peak area 1386284.572 is out of bounds (ISTD Minimum Recovery 0.000 and ISTD Max Recovery 0.000). 6.131:Apex Retention Time 6.131 is out of bounds (ISTD Min RT -0.250 and ISTD Max RT 0.250)
Lactate U-13C neg | 6.14 | Internal Standard | KD111423_111423_PM10 | 1324003 | N/A | N/A | 6.131:Peak area 1324002.984 is out of bounds (ISTD Minimum Recovery 0.000 and ISTD Max Recovery 0.000). 6.131:Apex Retention Time 6.131 is out of bounds (ISTD Min RT -0.250 and ISTD Max RT 0.250)
Lactate U-13C neg | 6.14 | Internal Standard | KD111423_111423_PM11 | N/F | N/F | N/A | Internal Standard Compound has peaks that are not found.
Lactate U-13C neg | 6.14 | Internal Standard | KD111423_111423_PM12 | N/F | N/F | N/A | Internal Standard Compound has peaks that are not found.
Lactate U-13C neg | 6.14 | Internal Standard | KD111423_111423_PM13 | 1142016 | N/A | N/A | 6.137:Peak area 1142015.778 is out of bounds (ISTD Minimum Recovery 0.000 and ISTD Max Recovery 0.000). 6.137:Apex Retention Time 6.137 is out of bounds (ISTD Min RT -0.250 and ISTD Max RT 0.250)
Lactate U-13C neg | 6.14 | Internal Standard | KD111423_111423_PM14 | 1040214 | N/A | N/A | 6.151:Peak area 1040213.952 is out of bounds (ISTD Minimum Recovery 0.000 and ISTD Max Recovery 0.000). 6.151:Apex Retention Time 6.151 is out of bounds (ISTD Min RT -0.250 and ISTD Max RT 0.250)
Lactate U-13C neg | 6.14 | Internal Standard | KD111423_111423_PM15 | N/F | N/F | N/A | Internal Standard Compound has peaks that are not found.
Lactate U-13C neg | 6.14 | Internal Standard | KD111423_111423_PM16 | N/F | N/F | N/A | Internal Standard Compound has peaks that are not found.
Lactate U-13C neg | 6.14 | Internal Standard | KD111623_112023_PC01 | 1201565 | N/A | N/A | 6.113:Peak area 1201565.309 is out of bounds (ISTD Minimum Recovery 0.000 and ISTD Max Recovery 0.000). 6.113:Apex Retention Time 6.113 is out of bounds (ISTD Min RT -0.250 and ISTD Max RT 0.250)
Lactate U-13C neg | 6.14 | Internal Standard | KD111623_112023_PC02 | 1182962 | N/A | N/A | 6.118:Peak area 1182961.880 is out of bounds (ISTD Minimum Recovery 0.000 and ISTD Max Recovery 0.000). 6.118:Apex Retention Time 6.118 is out of bounds (ISTD Min RT -0.250 and ISTD Max RT 0.250)
Lactate U-13C neg | 6.14 | Internal Standard | KD111623_112023_PC03 | 1232285 | N/A | N/A | 6.110:Peak area 1232284.971 is out of bounds (ISTD Minimum Recovery 0.000 and ISTD Max Recovery 0.000). 6.110:Apex Retention Time 6.110 is out of bounds (ISTD Min RT -0.250 and ISTD Max RT 0.250)
Lactate U-13C neg | 6.14 | Internal Standard | KD111623_112023_PC04 | 1194716 | N/A | N/A | 6.110:Peak area 1194715.660 is out of bounds (ISTD Minimum Recovery 0.000 and ISTD Max Recovery 0.000). 6.110:Apex Retention Time 6.110 is out of bounds (ISTD Min RT -0.250 and ISTD Max RT 0.250)
Lactate U-13C neg | 6.14 | Internal Standard | KD111623_112023_PC05 | 1259711 | N/A | N/A | 6.096:Peak area 1259710.983 is out of bounds (ISTD Minimum Recovery 0.000 and ISTD Max Recovery 0.000). 6.096:Apex Retention Time 6.096 is out of bounds (ISTD Min RT -0.250 and ISTD Max RT 0.250)
Lactate U-13C neg | 6.14 | Internal Standard | KD111623_112023_PC06 | 1200473 | N/A | N/A | 6.118:Peak area 1200472.567 is out of bounds (ISTD Minimum Recovery 0.000 and ISTD Max Recovery 0.000). 6.118:Apex Retention Time 6.118 is out of bounds (ISTD Min RT -0.250 and ISTD Max RT 0.250)
Lactate U-13C neg | 6.14 | Internal Standard | KD111623_112023_PC07 | N/F | N/F | N/A | Internal Standard Compound has peaks that are not found.
Lactate U-13C neg | 6.14 | Internal Standard | KD111623_112023_PC08 | N/F | N/F | N/A | Internal Standard Compound has peaks that are not found.
Lactate U-13C neg | 6.14 | Internal Standard | KD111623_112023_PC09 | N/F | N/F | N/A | Internal Standard Compound has peaks that are not found.
Lactate U-13C neg | 6.14 | Internal Standard | KD111623_112023_PC10 | N/F | N/F | N/A | Internal Standard Compound has peaks that are not found.

## Pyruvate neg
Compound | RT | Type | Filename | Area | Response Ratio | ISTD Response | Flag Details
Pyruvate neg | 5 | Target Compound | KD111423_111423_PM01 | 2415288 | 0.12 | 20137685
Pyruvate neg | 5 | Target Compound | KD111423_111423_PM02 | 2843272 | 0.142 | 19968854
Pyruvate neg | 5 | Target Compound | KD111423_111423_PM03 | 49641430 | 2.347 | 21152120
Pyruvate neg | 5 | Target Compound | KD111423_111423_PM04 | 40981105 | 2.026 | 20225233
Pyruvate neg | 5 | Target Compound | KD111423_111423_PM05 | 1884414 | 0.095 | 19822121
Pyruvate neg | 5 | Target Compound | KD111423_111423_PM06 | 2126936 | 0.103 | 20741925
Pyruvate neg | 5 | Target Compound | KD111423_111423_PM07 | 43229873 | 2.058 | 21007550
Pyruvate neg | 5 | Target Compound | KD111423_111423_PM08 | 42142430 | 2.042 | 20642557
Pyruvate neg | 5 | Target Compound | KD111423_111423_PM09 | 7563152 | 0.376 | 20102984
Pyruvate neg | 5 | Target Compound | KD111423_111423_PM10 | 9375874 | 0.485 | 19346140
Pyruvate neg | 5 | Target Compound | KD111423_111423_PM11 | 42073143 | 2.064 | 20383508
Pyruvate neg | 5 | Target Compound | KD111423_111423_PM12 | 36010869 | 2.051 | 17561297
Pyruvate neg | 5 | Target Compound | KD111423_111423_PM13 | 15708641 | 0.777 | 20229505
Pyruvate neg | 5 | Target Compound | KD111423_111423_PM14 | 12364829 | 0.699 | 17692187
Pyruvate neg | 5 | Target Compound | KD111423_111423_PM15 | 34693535 | 1.698 | 20429511
Pyruvate neg | 5 | Target Compound | KD111423_111423_PM16 | 27947264 | 1.393 | 20058314 |  | RR | Pyr Conc (uM) | Pyr Conc (uM) inferred
Pyruvate neg | 5 | Target Compound | KD111623_112023_PC01 | 1684708 | 0.12 | 13992208 |  | 0.1204 | 0 | 0.0081537
Pyruvate neg | 5 | Target Compound | KD111623_112023_PC02 | 9170700 | 0.607 | 15106038 |  | 0.60709 | 10 | 10.3546
Pyruvate neg | 5 | Target Compound | KD111623_112023_PC03 | 16793718 | 1.044 | 16082306 |  | 1.0442 | 20 | 19.6479
Pyruvate neg | 5 | Target Compound | KD111623_112023_PC04 | 24044918 | 1.485 | 16194352 |  | 1.4848 | 30 | 29.0133
Pyruvate neg | 5 | Target Compound | KD111623_112023_PC05 | 35867355 | 2.141 | 16754295 |  | 2.1408 | 40 | 42.9595
Pyruvate neg | 5 | Target Compound | KD111623_112023_PC06 | 40096434 | 2.379 | 16857623 |  | 2.3785 | 50 | 48.0138
Pyruvate neg | 5 | Target Compound | KD111623_112023_PC07 | 8801560 | 0.538 | 16350320 |  | 0.53831 |  | 8.8925
Pyruvate neg | 5 | Target Compound | KD111623_112023_PC08 | 8679269 | 0.537 | 16159667 |  | 0.53709 |  | 8.8666 | 8.8795
Pyruvate neg | 5 | Target Compound | KD111623_112023_PC09 | 2930935 | 0.184 | 15910848 |  | 0.18421 |  | 1.3646
Pyruvate neg | 5 | Target Compound | KD111623_112023_PC10 | 2938029 | 0.185 | 15875679 |  | 0.18506 |  | 1.3828 | 1.3737
[5 empty] | max | 21152120 | [5 empty] | 84.5295 | % depletion
[5 empty] | min | 13992208
[5 empty] | ratio | 1.5117

## Pyruvate U-13C neg
Compound | RT | Type | Filename | Area | Response Ratio | ISTD Response | Flag Details
Pyruvate U-13C neg | 5 | Internal Standard | KD111423_111423_PM01 | 20137685 | N/A | N/A | 4.984:Peak area 20137685.061 is out of bounds (ISTD Minimum Recovery 0.000 and ISTD Max Recovery 0.000). 4.984:Apex Retention Time 4.984 is out of bounds (ISTD Min RT -0.250 and ISTD Max RT 0.250)
Pyruvate U-13C neg | 5 | Internal Standard | KD111423_111423_PM02 | 19968854 | N/A | N/A | 4.996:Peak area 19968854.010 is out of bounds (ISTD Minimum Recovery 0.000 and ISTD Max Recovery 0.000). 4.996:Apex Retention Time 4.996 is out of bounds (ISTD Min RT -0.250 and ISTD Max RT 0.250)
Pyruvate U-13C neg | 5 | Internal Standard | KD111423_111423_PM03 | 21152120 | N/A | N/A | 5.005:Peak area 21152120.233 is out of bounds (ISTD Minimum Recovery 0.000 and ISTD Max Recovery 0.000). 5.005:Apex Retention Time 5.005 is out of bounds (ISTD Min RT -0.250 and ISTD Max RT 0.250)
Pyruvate U-13C neg | 5 | Internal Standard | KD111423_111423_PM04 | 20225233 | N/A | N/A | 5.004:Peak area 20225233.233 is out of bounds (ISTD Minimum Recovery 0.000 and ISTD Max Recovery 0.000). 5.004:Apex Retention Time 5.004 is out of bounds (ISTD Min RT -0.250 and ISTD Max RT 0.250)
Pyruvate U-13C neg | 5 | Internal Standard | KD111423_111423_PM05 | 19822121 | N/A | N/A | 5.007:Peak area 19822120.840 is out of bounds (ISTD Minimum Recovery 0.000 and ISTD Max Recovery 0.000). 5.007:Apex Retention Time 5.007 is out of bounds (ISTD Min RT -0.250 and ISTD Max RT 0.250)
Pyruvate U-13C neg | 5 | Internal Standard | KD111423_111423_PM06 | 20741925 | N/A | N/A | 4.983:Peak area 20741925.339 is out of bounds (ISTD Minimum Recovery 0.000 and ISTD Max Recovery 0.000). 4.983:Apex Retention Time 4.983 is out of bounds (ISTD Min RT -0.250 and ISTD Max RT 0.250)
Pyruvate U-13C neg | 5 | Internal Standard | KD111423_111423_PM07 | 21007550 | N/A | N/A | 5.018:Peak area 21007550.048 is out of bounds (ISTD Minimum Recovery 0.000 and ISTD Max Recovery 0.000). 5.018:Apex Retention Time 5.018 is out of bounds (ISTD Min RT -0.250 and ISTD Max RT 0.250)
Pyruvate U-13C neg | 5 | Internal Standard | KD111423_111423_PM08 | 20642557 | N/A | N/A | 4.995:Peak area 20642556.844 is out of bounds (ISTD Minimum Recovery 0.000 and ISTD Max Recovery 0.000). 4.995:Apex Retention Time 4.995 is out of bounds (ISTD Min RT -0.250 and ISTD Max RT 0.250)
Pyruvate U-13C neg | 5 | Internal Standard | KD111423_111423_PM09 | 20102984 | N/A | N/A | 5.018:Peak area 20102984.047 is out of bounds (ISTD Minimum Recovery 0.000 and ISTD Max Recovery 0.000). 5.018:Apex Retention Time 5.018 is out of bounds (ISTD Min RT -0.250 and ISTD Max RT 0.250)
Pyruvate U-13C neg | 5 | Internal Standard | KD111423_111423_PM10 | 19346140 | N/A | N/A | 5.018:Peak area 19346139.950 is out of bounds (ISTD Minimum Recovery 0.000 and ISTD Max Recovery 0.000). 5.018:Apex Retention Time 5.018 is out of bounds (ISTD Min RT -0.250 and ISTD Max RT 0.250)
Pyruvate U-13C neg | 5 | Internal Standard | KD111423_111423_PM11 | 20383508 | N/A | N/A | 5.017:Peak area 20383508.216 is out of bounds (ISTD Minimum Recovery 0.000 and ISTD Max Recovery 0.000). 5.017:Apex Retention Time 5.017 is out of bounds (ISTD Min RT -0.250 and ISTD Max RT 0.250)
Pyruvate U-13C neg | 5 | Internal Standard | KD111423_111423_PM12 | 17561297 | N/A | N/A | 5.006:Peak area 17561296.748 is out of bounds (ISTD Minimum Recovery 0.000 and ISTD Max Recovery 0.000). 5.006:Apex Retention Time 5.006 is out of bounds (ISTD Min RT -0.250 and ISTD Max RT 0.250)
Pyruvate U-13C neg | 5 | Internal Standard | KD111423_111423_PM13 | 20229505 | N/A | N/A | 5.005:Peak area 20229505.310 is out of bounds (ISTD Minimum Recovery 0.000 and ISTD Max Recovery 0.000). 5.005:Apex Retention Time 5.005 is out of bounds (ISTD Min RT -0.250 and ISTD Max RT 0.250)
Pyruvate U-13C neg | 5 | Internal Standard | KD111423_111423_PM14 | 17692187 | N/A | N/A | 5.020:Peak area 17692186.797 is out of bounds (ISTD Minimum Recovery 0.000 and ISTD Max Recovery 0.000). 5.020:Apex Retention Time 5.020 is out of bounds (ISTD Min RT -0.250 and ISTD Max RT 0.250)
Pyruvate U-13C neg | 5 | Internal Standard | KD111423_111423_PM15 | 20429511 | N/A | N/A | 5.018:Peak area 20429511.272 is out of bounds (ISTD Minimum Recovery 0.000 and ISTD Max Recovery 0.000). 5.018:Apex Retention Time 5.018 is out of bounds (ISTD Min RT -0.250 and ISTD Max RT 0.250)
Pyruvate U-13C neg | 5 | Internal Standard | KD111423_111423_PM16 | 20058314 | N/A | N/A | 5.020:Peak area 20058313.991 is out of bounds (ISTD Minimum Recovery 0.000 and ISTD Max Recovery 0.000). 5.020:Apex Retention Time 5.020 is out of bounds (ISTD Min RT -0.250 and ISTD Max RT 0.250)
Pyruvate U-13C neg | 5 | Internal Standard | KD111623_112023_PC01 | 13992208 | N/A | N/A | 5.000:Peak area 13992208.183 is out of bounds (ISTD Minimum Recovery 0.000 and ISTD Max Recovery 0.000). 5.000:Apex Retention Time 5.000 is out of bounds (ISTD Min RT -0.250 and ISTD Max RT 0.250)
Pyruvate U-13C neg | 5 | Internal Standard | KD111623_112023_PC02 | 15106038 | N/A | N/A | 5.006:Peak area 15106037.982 is out of bounds (ISTD Minimum Recovery 0.000 and ISTD Max Recovery 0.000). 5.006:Apex Retention Time 5.006 is out of bounds (ISTD Min RT -0.250 and ISTD Max RT 0.250)
Pyruvate U-13C neg | 5 | Internal Standard | KD111623_112023_PC03 | 16082306 | N/A | N/A | 4.997:Peak area 16082306.075 is out of bounds (ISTD Minimum Recovery 0.000 and ISTD Max Recovery 0.000). 4.997:Apex Retention Time 4.997 is out of bounds (ISTD Min RT -0.250 and ISTD Max RT 0.250)
Pyruvate U-13C neg | 5 | Internal Standard | KD111623_112023_PC04 | 16194352 | N/A | N/A | 5.006:Peak area 16194352.432 is out of bounds (ISTD Minimum Recovery 0.000 and ISTD Max Recovery 0.000). 5.006:Apex Retention Time 5.006 is out of bounds (ISTD Min RT -0.250 and ISTD Max RT 0.250)
Pyruvate U-13C neg | 5 | Internal Standard | KD111623_112023_PC05 | 16754295 | N/A | N/A | 4.984:Peak area 16754294.796 is out of bounds (ISTD Minimum Recovery 0.000 and ISTD Max Recovery 0.000). 4.984:Apex Retention Time 4.984 is out of bounds (ISTD Min RT -0.250 and ISTD Max RT 0.250)
Pyruvate U-13C neg | 5 | Internal Standard | KD111623_112023_PC06 | 16857623 | N/A | N/A | 4.997:Peak area 16857622.930 is out of bounds (ISTD Minimum Recovery 0.000 and ISTD Max Recovery 0.000). 4.997:Apex Retention Time 4.997 is out of bounds (ISTD Min RT -0.250 and ISTD Max RT 0.250)
Pyruvate U-13C neg | 5 | Internal Standard | KD111623_112023_PC07 | 16350320 | N/A | N/A | 5.006:Peak area 16350319.921 is out of bounds (ISTD Minimum Recovery 0.000 and ISTD Max Recovery 0.000). 5.006:Apex Retention Time 5.006 is out of bounds (ISTD Min RT -0.250 and ISTD Max RT 0.250)
Pyruvate U-13C neg | 5 | Internal Standard | KD111623_112023_PC08 | 16159667 | N/A | N/A | 5.019:Peak area 16159667.182 is out of bounds (ISTD Minimum Recovery 0.000 and ISTD Max Recovery 0.000). 5.019:Apex Retention Time 5.019 is out of bounds (ISTD Min RT -0.250 and ISTD Max RT 0.250)
Pyruvate U-13C neg | 5 | Internal Standard | KD111623_112023_PC09 | 15910848 | N/A | N/A | 4.996:Peak area 15910847.886 is out of bounds (ISTD Minimum Recovery 0.000 and ISTD Max Recovery 0.000). 4.996:Apex Retention Time 4.996 is out of bounds (ISTD Min RT -0.250 and ISTD Max RT 0.250)
Pyruvate U-13C neg | 5 | Internal Standard | KD111623_112023_PC10 | 15875679 | N/A | N/A | 4.997:Peak area 15875679.027 is out of bounds (ISTD Minimum Recovery 0.000 and ISTD Max Recovery 0.000). 4.997:Apex Retention Time 4.997 is out of bounds (ISTD Min RT -0.250 and ISTD Max RT 0.250)