## Asn_Asp_res
|  | Asparagine pos |  |  |  |  | Asparagine 13C4 pos |  |  |  |  | Aspartate neg |  |  |  |  | Aspartate 13C4 neg
Filename | Sample ID | Area | Area_IS | Response ratio | Cal. Conc. vial (uM) | Cal. Conc. Cell/Media (uM) | Area | Area_IS | Response ratio | Cal. Conc. vial (uM) | Cal. Conc. Cell/Media (uM) | Area | Area_IS | Response ratio | Cal. Conc. vial (uM) | Cal. Conc. Cell/Media (uM) | Area | Area_IS | Response ratio | Cal. Conc. vial (uM) | Cal. Conc. Cell/Media (uM) |  | Asp 13C4 % of total Asp |  |  |  | Cell/media volume (uL) | Solvent volume (uL) | Solvent transferred (uL) | Solvent reconstitution (uL) | Dilution factor (fold less)
KD100520_100520_i1h_g | Intracellular_1h_gpASNase | 0 | 543367899 | 0 | 0 |  | 0 | 543367899 | 0 | 0 |  | 142915445 | 665788324 | 0.21466 | 10.725 |  | 13622272 | 665788324 | 0.02046 | 0.89241 |  |  | 8.7022 |  |  |  |  | 1000 | 800 | 40 | 0
KD100520_100520_i1h_m | Intracellular_1h_msASNase | 933926 | 556780302 | 0.0016774 | 0.17039 |  | 3421435 | 556780302 | 0.006145 | 0.56094 |  | 75929814 | 688681635 | 0.11025 | 5.3006 |  | 6248113 | 688681635 | 0.0090726 | 0.37754 |  |  | 7.6032 |  |  |  |  | 1000 | 800 | 40 | 0
KD100520_100520_i1h_v | Intracellular_1h_vehicle | 1573016 | 540717684 | 0.0029091 | 0.28241 |  | 5829259 | 540717684 | 0.010781 | 0.93961 |  | 94603545 | 630578988 | 0.15003 | 7.3423 |  | 3561928 | 630578988 | 0.0056487 | 0.22871 |  |  | 3.6285 |  |  |  |  | 1000 | 800 | 40 | 0
KD100520_100520_i4h_g | Intracellular_4h_gpASNase | 0 | 557987247 | 0 | 0 |  | 0 | 557987247 | 0 | 0 |  | 179534241 | 652073677 | 0.27533 | 13.9558 |  | 3765683 | 652073677 | 0.0057749 | 0.23412 |  |  | 2.0544 |  |  |  |  | 1000 | 800 | 40 | 0
KD100520_100520_i4h_m | Intracellular_4h_msASNase | 1550175 | 582035562 | 0.0026634 | 0.26044 |  | 5051390 | 582035562 | 0.0086788 | 0.77004 |  | 92978953 | 634952711 | 0.14643 | 7.1564 |  | 5680497 | 634952711 | 0.0089463 | 0.37199 |  |  | 5.7577 |  |  |  |  | 1000 | 800 | 40 | 0
KD100520_100520_i4h_v | Intracellular_4h_vehicle | 1795854 | 540897844 | 0.0033201 | 0.31883 |  | 7165381 | 540897844 | 0.013247 | 1.1352 |  | 120011511 | 640154811 | 0.18747 | 9.2938 |  | 3739021 | 640154811 | 0.0058408 | 0.23695 |  |  | 3.0214 |  |  |  |  | 1000 | 800 | 40 | 0
KD100520_100520_i24h_g | Intracellular_24h_gpASNase | 0 | 574870255 | 0 | 0 |  | 0 | 574870255 | 0 | 0 |  | 87898042 | 641519087 | 0.13702 | 6.6704 |  | 3980786 | 641519087 | 0.0062052 | 0.25262 |  |  | 4.3326 |  |  |  |  | 1000 | 900 | 40 | 0
KD100520_100520_i24h_m | Intracellular_24h_msASNase | 712772 | 563241910 | 0.0012655 | 0.13156 |  | 4567292 | 563241910 | 0.0081089 | 0.72351 |  | 96681314 | 652409081 | 0.14819 | 7.2473 |  | 5729430 | 652409081 | 0.008782 | 0.36476 |  |  | 5.5946 |  |  |  |  | 1000 | 900 | 40 | 0
KD100520_100520_i24h_v | Intracellular_24h_vehicle | 2003759 | 544930324 | 0.0036771 | 0.35015 |  | 13412547 | 544930324 | 0.024613 | 2.0043 |  | 146710680 | 644906062 | 0.22749 | 11.4045 |  | 4235995 | 644906062 | 0.0065684 | 0.26828 |  |  | 2.8063 |  |  |  |  | 1000 | 900 | 40 | 0
KD100520_100520_m0h_nsg | Media_0h_no-cells_1 | 0 | 233329489 | 0 | 0 | 0 | 178635214 | 233329489 | 0.76559 | 46.9823 | 116.0057 | 1544711 | 744992878 | 0.0020735 | 0.079228 | 0.19563 | 8060736 | 744992878 | 0.01082 | 0.45486 | 1.1231 |  | 83.9184 |  |  |  | 20 | 1000 | 900 | 40 | 0.405
KD100520_100520_m0h_nsm | Media_0h_no-cells_2 | 0 | 241538011 | 0 | 0 | 0 | 194872777 | 241538011 | 0.8068 | 49.298 | 121.7233 | 1951330 | 771437418 | 0.0025295 | 0.09777 | 0.24141 | 8854604 | 771437418 | 0.011478 | 0.48418 | 1.1955 |  | 81.9421 |  |  |  | 20 | 1000 | 900 | 40 | 0.405
KD100520_100520_m0h_nsv | Media_0h_no-cells_3 | 225411 | 238124139 | 0.00094661 | 0.10079 | 0.24887 | 188601645 | 238124139 | 0.79203 | 48.4692 | 119.677 | 826373 | 742652248 | 0.0011127 | 0.041016 | 0.10127 | 7787090 | 742652248 | 0.010486 | 0.44001 | 1.0864 |  | 90.406 |  |  |  | 20 | 1000 | 900 | 40 | 0.405
KD100520_100520_m1h_g | Media_1h_gpASNase | 0 | 265373547 | 0 | 0 | 0 | 11910321 | 265373547 | 0.044881 | 3.4785 | 8.5889 | 13845213 | 714582984 | 0.019375 | 0.84242 | 2.0801 | 337308346 | 714582984 | 0.47204 | 24.6837 | 60.9474 |  | 96.0572 |  |  |  | 20 | 1000 | 900 | 40 | 0.405
KD100520_100520_m1h_m | Media_1h_msASNase | 680989 | 242846046 | 0.0028042 | 0.27305 | 0.6742 | 175872306 | 242846046 | 0.72421 | 44.6467 | 110.2388 | 10138831 | 804293897 | 0.012606 | 0.53465 | 1.3201 | 9111417 | 804293897 | 0.011328 | 0.47751 | 1.179 |  | 47.3314 |  |  |  | 20 | 1000 | 900 | 40 | 0.405
KD100520_100520_m1h_v | Media_1h_vehicle | 2210444 | 256007249 | 0.0086343 | 0.76642 | 1.8924 | 181172434 | 256007249 | 0.70768 | 43.7107 | 107.9277 | 9398170 | 784651023 | 0.011978 | 0.5065 | 1.2506 | 8189864 | 784651023 | 0.010438 | 0.43788 | 1.0812 |  | 46.565 |  |  |  | 20 | 1000 | 900 | 40 | 0.405
KD100520_100520_m4h_g | Media_4h_gpASNase | 0 | 259042007 | 0 | 0 | 0 | 0 | 259042007 | 0 | 0 | 0 | 13849964 | 705360576 | 0.019635 | 0.85439 | 2.1096 | 338781128 | 705360576 | 0.48029 | 25.1408 | 62.0761 |  | 96.0724 |  |  |  | 20 | 1000 | 900 | 40 | 0.405
KD100520_100520_m4h_m | Media_4h_msASNase | 1549981 | 262113271 | 0.0059134 | 0.54151 | 1.3371 | 193770718 | 262113271 | 0.73926 | 45.4974 | 112.3394 | 9442766 | 716583096 | 0.013177 | 0.56032 | 1.3835 | 11850494 | 716583096 | 0.016538 | 0.71249 | 1.7592 |  | 55.6537 |  |  |  | 20 | 1000 | 900 | 40 | 0.405
KD100520_100520_m4h_v | Media_4h_vehicle | 3641639 | 258368257 | 0.014095 | 1.2017 | 2.9671 | 193691832 | 258368257 | 0.74967 | 46.0851 | 113.7903 | 11521969 | 795424094 | 0.014485 | 0.61931 | 1.5292 | 10248203 | 795424094 | 0.012884 | 0.54713 | 1.3509 |  | 47.0745 |  |  |  | 20 | 1000 | 900 | 40 | 0.405
KD100520_100520_m24h_g | Media_24h_gpASNase | 0 | 265718833 | 0 | 0 | 0 | 0 | 265718833 | 0 | 0 | 0 | 24999394 | 690631434 | 0.036198 | 1.6318 | 4.029 | 319525933 | 690631434 | 0.46266 | 24.1653 | 59.6674 |  | 92.7438 |  |  |  | 20 | 1000 | 900 | 40 | 0.405
KD100520_100520_m24h_m | Media_24h_msASNase | 4135212 | 270152862 | 0.015307 | 1.2962 | 3.2004 | 177776575 | 270152862 | 0.65806 | 40.8895 | 100.9617 | 15897956 | 769954631 | 0.020648 | 0.90107 | 2.2249 | 38962752 | 769954631 | 0.050604 | 2.3258 | 5.7426 |  | 71.0212 |  |  |  | 20 | 1000 | 900 | 40 | 0.405
KD100520_100520_m24h_v | Media_24h_vehicle | 9088139 | 271149806 | 0.033517 | 2.6609 | 6.5701 | 195301674 | 271149806 | 0.72027 | 44.4237 | 109.6882 | 16476928 | 814932457 | 0.020219 | 0.88127 | 2.176 | 17349257 | 814932457 | 0.021289 | 0.93069 | 2.298 |  | 51.2894 |  |  |  | 20 | 1000 | 900 | 40 | 0.405
KD100520_100520_m24h_nsg | Media_24h_no-cells_1 | 0 | 234936703 | 0 | 0 | 0 | 208758538 | 234936703 | 0.88857 | 53.8649 | 132.9998 | 1866398 | 798709825 | 0.0023368 | 0.089909 | 0.222 | 17684869 | 798709825 | 0.022142 | 0.97017 | 2.3955 |  | 90.4538 |  |  |  | 20 | 1000 | 900 | 40 | 0.405
KD100520_100520_m24h_nsm | Media_24h_no-cells_2 | 0 | 258763278 | 0 | 0 | 0 | 207689564 | 258763278 | 0.80262 | 49.0637 | 121.1451 | 2202371 | 746839530 | 0.0029489 | 0.115 | 0.28395 | 17414955 | 746839530 | 0.023318 | 1.0248 | 2.5303 |  | 88.7733 |  |  |  | 20 | 1000 | 900 | 40 | 0.405
KD100520_100520_m24h_nsv | Media_24h_no-cells_3 | 0 | 239558194 | 0 | 0 | 0 | 189738132 | 239558194 | 0.79203 | 48.4693 | 119.6774 | 1183028 | 698164906 | 0.0016945 | 0.063996 | 0.15802 | 15987577 | 698164906 | 0.022899 | 1.0053 | 2.4823 |  | 93.1102 |  |  |  | 20 | 1000 | 900 | 40 | 0.405
[10 empty] | Before - After | -16.994 | [8 empty] | After - Before | 1.2724
[11 empty] | 0.57829 | [9 empty] | 1.3348
[11 empty] | -0.00038858 | [9 empty] | 1.3958
[16 empty] | Media Asn (uM) | [6 empty] | Media Asp (uM) | [9 empty] | Asp 13C4 % of total Asp
[16 empty] | 0 |  | 1 | 4 | 24 |  |  | 0 | 1 | 4 | 24 | [6 empty] | 1h | 4h | 24h
[15 empty] | Vehicle |  |  | 1.8924 | 2.9671 | 6.5701 |  | Vehicle |  | 1.2506 | 1.5292 | 2.176 | [5 empty] | Vehicle | 3.6285 | 3.0214 | 4.3326
[15 empty] | msASNase |  |  | 0.6742 | 1.3371 | 3.2004 |  | msASNase |  | 1.3201 | 1.3835 | 2.2249 | [5 empty] | msASNase | 7.6032 | 5.7577 | 5.5946
[15 empty] | gpASNase |  |  | 0 | 0 | 0 |  | gpASNase |  | 2.0801 | 2.1096 | 4.029 | [5 empty] | gpASNase | 8.7022 | 2.0544 | 2.8063
[15 empty] | No cells | 0.082956 |  |  |  | 0 |  | No cells | 0.17944 |  |  | 0.22132
[18 empty] | Media 13C4 Asn (uM) |  |  |  |  | Media 13C4 Asp (uM)
[16 empty] | 0 |  | 1 | 4 | 24 |  |  | 0 | 1 | 4 | 24
[15 empty] | Vehicle |  |  | 107.9277 | 113.7903 | 109.6882 |  | Vehicle |  | 1.0812 | 1.3509 | 2.298
[15 empty] | msASNase |  |  | 110.2388 | 112.3394 | 100.9617 |  | msASNase |  | 1.179 | 1.7592 | 5.7426
[15 empty] | gpASNase |  |  | 8.5889 | 0 | 0 |  | gpASNase |  | 60.9474 | 62.0761 | 59.6674
[15 empty] | No cells | 119.1354 |  |  |  | 124.6074 |  | No cells | 1.135 |  |  | 2.4693
Keep in mind that after 1h the media U-13C Asn concentration has already fallen to less than 10% of its starting concentration for gpASNase.
Therefore, for the gpASNase cells, it is expected that labelled Asn is incorporated most into Asp at the 1h timepoint.
The the fractional contribution for Vehicle cells are consistently low with msASNase consistently higher.
This would indicate some slight ASNase activity for msASNase, but higher activity for gpASNase.
[15 empty] | Spiked-in labelled Asn is stable over 24h timecourse ("No cells" samples). | [8 empty] | Most of the spiked-in U-13C Asn is converted to 13C4 Asp in the gpASNase media.
[15 empty] | More than 90% of the spiked-in Asn is already consumed after 1h, for gpASNase cells, and at later timepoints no detectable Asn is left. | [8 empty] | This indicates gpASNase actibity in the media and explains the rapid Asn consumption.
[15 empty] | Asn is only comsumed slightly by msASNase and Vehicle cells. | [8 empty] | No indication of Asn to Asp conversion in the Vehicle cells.
Possibly, slight conversion of Asn to Asp in the msASNase cells.
[15 empty] | Unlabelled Asn leaks out of the cells. | [8 empty] | Cells also leak small amounts of Asp into the media.
[15 empty] | Something prevents Asn accumulation in the media of gpASNase cells. | [8 empty] | gpASNase cells appear to leak out more Asp than the other cells.
[15 empty] | Could indicate low intracellular Asn concentration or gpASNase enzyme in the media. | [8 empty] | This could also be explained by free gpASNase in the media, which would convert any Asn leak to Asp, thereby increasing apparent Asp leak.

## Asparagine neg
Compound | RT | Type | Filename | Height | Sample ID | Area | Formula | S/N | Flag Details
Asparagine neg | 9.77 | Target Compound | KD100520_100520_i1h_g | 15815 |  | 239128 | C4H8N2O3 | 33.87
Asparagine neg | 9.77 | Target Compound | KD100520_100520_i1h_m | 65060 |  | 988608 | C4H8N2O3 | 109.79
Asparagine neg | 9.77 | Target Compound | KD100520_100520_i1h_v | 91945 |  | 1473195 | C4H8N2O3 | 152.08
Asparagine neg | 9.77 | Target Compound | KD100520_100520_i4h_g | N/F |  | N/F | C4H8N2O3 | N/A
Asparagine neg | 9.77 | Target Compound | KD100520_100520_i4h_m | 73501 |  | 1113522 | C4H8N2O3 | 116.24
Asparagine neg | 9.77 | Target Compound | KD100520_100520_i4h_v | 126652 |  | 1960272 | C4H8N2O3 | 204.24
Asparagine neg | 9.77 | Target Compound | KD100520_100520_i24h_g | N/F |  | N/F | C4H8N2O3 | N/A
Asparagine neg | 9.77 | Target Compound | KD100520_100520_i24h_m | 55840 |  | 965888 | C4H8N2O3 | 81.53
Asparagine neg | 9.77 | Target Compound | KD100520_100520_i24h_v | 166925 |  | 2254109 | C4H8N2O3 | 194.18
Asparagine neg | 9.77 | Target Compound | KD100520_100520_m0h_nsg | N/F |  | N/F | C4H8N2O3 | N/A
Asparagine neg | 9.77 | Target Compound | KD100520_100520_m0h_nsm | 32187 |  | 320655 | C4H8N2O3 | 31.97
Asparagine neg | 9.77 | Target Compound | KD100520_100520_m0h_nsv | N/F |  | N/F | C4H8N2O3 | N/A
Asparagine neg | 9.77 | Target Compound | KD100520_100520_m1h_g | 11241 |  | 54340 | C4H8N2O3 | 31.63
Asparagine neg | 9.77 | Target Compound | KD100520_100520_m1h_m | 109944 |  | 1780324 | C4H8N2O3 | 81.45
Asparagine neg | 9.77 | Target Compound | KD100520_100520_m1h_v | 214375 |  | 3139499 | C4H8N2O3 | 196.87
Asparagine neg | 9.77 | Target Compound | KD100520_100520_m4h_g | N/F |  | N/F | C4H8N2O3 | N/A
Asparagine neg | 9.77 | Target Compound | KD100520_100520_m4h_m | 156922 |  | 2243915 | C4H8N2O3 | 116.65
Asparagine neg | 9.77 | Target Compound | KD100520_100520_m4h_v | 288682 |  | 3900526 | C4H8N2O3 | 155.35
Asparagine neg | 9.77 | Target Compound | KD100520_100520_m24h_g | N/F |  | N/F | C4H8N2O3 | N/A
Asparagine neg | 9.77 | Target Compound | KD100520_100520_m24h_m | 303461 |  | 5310640 | C4H8N2O3 | 256.00
Asparagine neg | 9.77 | Target Compound | KD100520_100520_m24h_nsg | N/F |  | N/F | C4H8N2O3 | N/A
Asparagine neg | 9.77 | Target Compound | KD100520_100520_m24h_nsm | N/F |  | N/F | C4H8N2O3 | N/A
Asparagine neg | 9.77 | Target Compound | KD100520_100520_m24h_nsv | N/F |  | N/F | C4H8N2O3 | N/A
Asparagine neg | 9.77 | Target Compound | KD100520_100520_m24h_v | 658130 |  | 9963567 | C4H8N2O3 | 557.77

## Asparagine pos
Compound | Filename | Sample ID | Area | Area_IS | Response ratio | Cal. Conc. (uM)
Asparagine pos | KD100520_100520_i1h_g |  | 0 | 543367899 | 0 | 0
Asparagine pos | KD100520_100520_i1h_m |  | 933926 | 556780302 | 0.0016774 | 0.16252
Asparagine pos | KD100520_100520_i1h_v |  | 1573016 | 540717684 | 0.0029091 | 0.26801
Asparagine pos | KD100520_100520_i4h_g |  | 0 | 557987247 | 0 | 0
Asparagine pos | KD100520_100520_i4h_m |  | 1550175 | 582035562 | 0.0026634 | 0.24736
Asparagine pos | KD100520_100520_i4h_v |  | 1795854 | 540897844 | 0.0033201 | 0.30219
Asparagine pos | KD100520_100520_i24h_g |  | 0 | 574870255 | 0 | 0
Asparagine pos | KD100520_100520_i24h_m |  | 712772 | 563241910 | 0.0012655 | 0.12582
Asparagine pos | KD100520_100520_i24h_v |  | 2003759 | 544930324 | 0.0036771 | 0.33156
Asparagine pos | KD100520_100520_m0h_nsg |  | 0 | 233329489 | 0 | 0
Asparagine pos | KD100520_100520_m0h_nsm |  | 0 | 241538011 | 0 | 0
Asparagine pos | KD100520_100520_m0h_nsv |  | 225411 | 238124139 | 0.00094661 | 0.096654
Asparagine pos | KD100520_100520_m1h_g |  | 0 | 265373547 | 0 | 0
Asparagine pos | KD100520_100520_m1h_m |  | 680989 | 242846046 | 0.0028042 | 0.25921
Asparagine pos | KD100520_100520_m1h_v |  | 2210444 | 256007249 | 0.0086343 | 0.72
Asparagine pos | KD100520_100520_m4h_g |  | 0 | 259042007 | 0 | 0
Asparagine pos | KD100520_100520_m4h_m |  | 1549981 | 262113271 | 0.0059134 | 0.51051
Asparagine pos | KD100520_100520_m4h_v |  | 3641639 | 258368257 | 0.014095 | 1.1237
Asparagine pos | KD100520_100520_m24h_g |  | 0 | 265718833 | 0 | 0
Asparagine pos | KD100520_100520_m24h_m |  | 4135212 | 270152862 | 0.015307 | 1.2112
Asparagine pos | KD100520_100520_m24h_nsg |  | 0 | 234936703 | 0 | 0
Asparagine pos | KD100520_100520_m24h_nsm |  | 0 | 258763278 | 0 | 0
Asparagine pos | KD100520_100520_m24h_nsv |  | 0 | 239558194 | 0 | 0
Asparagine pos | KD100520_100520_m24h_v |  | 9088139 | 271149806 | 0.033517 | 2.4684

## Asparagine U-13C neg
Compound | RT | Type | Filename | Height | Sample ID | Area | Formula | S/N | Flag Details
Asparagine U-13C neg | 9.77 | Target Compound | KD100520_100520_i1h_g | 2058 |  | 7390 | [13]C4H8N2O3 | INF
Asparagine U-13C neg | 9.77 | Target Compound | KD100520_100520_i1h_m | 222216 |  | 3053792 | [13]C4H8N2O3 | 57676.95
Asparagine U-13C neg | 9.77 | Target Compound | KD100520_100520_i1h_v | 348474 |  | 4746848 | [13]C4H8N2O3 | 140795.22
Asparagine U-13C neg | 9.77 | Target Compound | KD100520_100520_i4h_g | N/F |  | N/F | [13]C4H8N2O3 | N/A
Asparagine U-13C neg | 9.77 | Target Compound | KD100520_100520_i4h_m | 273214 |  | 3770883 | [13]C4H8N2O3 | 42408.86
Asparagine U-13C neg | 9.77 | Target Compound | KD100520_100520_i4h_v | 467065 |  | 6618271 | [13]C4H8N2O3 | 10332.49
Asparagine U-13C neg | 9.77 | Target Compound | KD100520_100520_i24h_g | 1656 |  | 5877 | [13]C4H8N2O3 | INF
Asparagine U-13C neg | 9.77 | Target Compound | KD100520_100520_i24h_m | 311954 |  | 4202945 | [13]C4H8N2O3 | 33198.77
Asparagine U-13C neg | 9.77 | Target Compound | KD100520_100520_i24h_v | 753986 |  | 10601632 | [13]C4H8N2O3 | 2015.29
Asparagine U-13C neg | 9.77 | Target Compound | KD100520_100520_m0h_nsg | 10087533 |  | 158756270 | [13]C4H8N2O3 | 24749.88
Asparagine U-13C neg | 9.77 | Target Compound | KD100520_100520_m0h_nsm | 10662366 |  | 168664061 | [13]C4H8N2O3 | 37468.68
Asparagine U-13C neg | 9.77 | Target Compound | KD100520_100520_m0h_nsv | 9789726 |  | 160451295 | [13]C4H8N2O3 | 20137.79
Asparagine U-13C neg | 9.77 | Target Compound | KD100520_100520_m1h_g | 861956 |  | 12287737 | [13]C4H8N2O3 | 3186.87
Asparagine U-13C neg | 9.77 | Target Compound | KD100520_100520_m1h_m | 10586944 |  | 165854577 | [13]C4H8N2O3 | 28035.72
Asparagine U-13C neg | 9.77 | Target Compound | KD100520_100520_m1h_v | 10338367 |  | 164006404 | [13]C4H8N2O3 | 30087.45
Asparagine U-13C neg | 9.77 | Target Compound | KD100520_100520_m4h_g | N/F |  | N/F | [13]C4H8N2O3 | N/A
Asparagine U-13C neg | 9.77 | Target Compound | KD100520_100520_m4h_m | 9989945 |  | 163141621 | [13]C4H8N2O3 | 44424.17
Asparagine U-13C neg | 9.77 | Target Compound | KD100520_100520_m4h_v | 9819095 |  | 159388256 | [13]C4H8N2O3 | 42681.51
Asparagine U-13C neg | 9.77 | Target Compound | KD100520_100520_m24h_g | N/F |  | N/F | [13]C4H8N2O3 | N/A
Asparagine U-13C neg | 9.77 | Target Compound | KD100520_100520_m24h_m | 8924464 |  | 139454322 | [13]C4H8N2O3 | 25238.52
Asparagine U-13C neg | 9.77 | Target Compound | KD100520_100520_m24h_nsg | 11298976 |  | 186567471 | [13]C4H8N2O3 | 21057.28
Asparagine U-13C neg | 9.77 | Target Compound | KD100520_100520_m24h_nsm | 11125611 |  | 170875620 | [13]C4H8N2O3 | 17236.43
Asparagine U-13C neg | 9.77 | Target Compound | KD100520_100520_m24h_nsv | 10463722 |  | 169594567 | [13]C4H8N2O3 | 76849.01
Asparagine U-13C neg | 9.77 | Target Compound | KD100520_100520_m24h_v | 9630124 |  | 157281942 | [13]C4H8N2O3 | 30309.88

## Asparagine U-13C pos
Compound | Filename | Sample ID | Area | Area_IS | Response ratio | Cal. Conc. (uM)
Asparagine U-13C pos | KD100520_100520_i1h_g |  | 0 | 543367899 | 0 | 0
Asparagine U-13C pos | KD100520_100520_i1h_m |  | 3421435 | 556780302 | 0.006145 | 0.52864
Asparagine U-13C pos | KD100520_100520_i1h_v |  | 5829259 | 540717684 | 0.010781 | 0.88088
Asparagine U-13C pos | KD100520_100520_i4h_g |  | 0 | 557987247 | 0 | 0
Asparagine U-13C pos | KD100520_100520_i4h_m |  | 5051390 | 582035562 | 0.0086788 | 0.72337
Asparagine U-13C pos | KD100520_100520_i4h_v |  | 7165381 | 540897844 | 0.013247 | 1.0622
Asparagine U-13C pos | KD100520_100520_i24h_g |  | 0 | 574870255 | 0 | 0
Asparagine U-13C pos | KD100520_100520_i24h_m |  | 4567292 | 563241910 | 0.0081089 | 0.68009
Asparagine U-13C pos | KD100520_100520_i24h_v |  | 13412547 | 544930324 | 0.024613 | 1.8647
Asparagine U-13C pos | KD100520_100520_m0h_nsg |  | 178635214 | 233329489 | 0.76559 | 42.3338
Asparagine U-13C pos | KD100520_100520_m0h_nsm |  | 194872777 | 241538011 | 0.8068 | 44.3987
Asparagine U-13C pos | KD100520_100520_m0h_nsv |  | 188601645 | 238124139 | 0.79203 | 43.6597
Asparagine U-13C pos | KD100520_100520_m1h_g |  | 11910321 | 265373547 | 0.044881 | 3.2181
Asparagine U-13C pos | KD100520_100520_m1h_m |  | 175872306 | 242846046 | 0.72421 | 40.2501
Asparagine U-13C pos | KD100520_100520_m1h_v |  | 181172434 | 256007249 | 0.70768 | 39.4147
Asparagine U-13C pos | KD100520_100520_m4h_g |  | 0 | 259042007 | 0 | 0
Asparagine U-13C pos | KD100520_100520_m4h_m |  | 193770718 | 262113271 | 0.73926 | 41.0092
Asparagine U-13C pos | KD100520_100520_m4h_v |  | 193691832 | 258368257 | 0.74967 | 41.5334
Asparagine U-13C pos | KD100520_100520_m24h_g |  | 0 | 265718833 | 0 | 0
Asparagine U-13C pos | KD100520_100520_m24h_m |  | 177776575 | 270152862 | 0.65806 | 36.8957
Asparagine U-13C pos | KD100520_100520_m24h_nsg |  | 208758538 | 234936703 | 0.88857 | 48.4682
Asparagine U-13C pos | KD100520_100520_m24h_nsm |  | 207689564 | 258763278 | 0.80262 | 44.1899
Asparagine U-13C pos | KD100520_100520_m24h_nsv |  | 189738132 | 239558194 | 0.79203 | 43.6599
Asparagine U-13C pos | KD100520_100520_m24h_v |  | 195301674 | 271149806 | 0.72027 | 40.051

## Asparagine U-13C, U-15N neg
Compound | RT | Type | Filename | Height | Sample ID | Area | Formula | S/N | Flag Details
Asparagine U-13C, U-15N neg | 9.77 | Internal Standard | KD100520_100520_i1h_g | 21324331 |  | 322179700 | [13]C4H8[15]N2O3 | 10683.86 | 9.754:Peak area 322179700.306 is out of bounds (ISTD Minimum Recovery 0.000 and ISTD Max Recovery 0.000). 9.754:Apex Retention Time 9.754 is out of bounds (ISTD Min RT -0.250 and ISTD Max RT 0.250)
Asparagine U-13C, U-15N neg | 9.77 | Internal Standard | KD100520_100520_i1h_m | 22729435 |  | 340309841 | [13]C4H8[15]N2O3 | 23841.41 | 9.771:Peak area 340309840.936 is out of bounds (ISTD Minimum Recovery 0.000 and ISTD Max Recovery 0.000). 9.771:Apex Retention Time 9.771 is out of bounds (ISTD Min RT -0.250 and ISTD Max RT 0.250)
Asparagine U-13C, U-15N neg | 9.77 | Internal Standard | KD100520_100520_i1h_v | 20754053 |  | 320178442 | [13]C4H8[15]N2O3 | 16031.37 | 9.788:Peak area 320178441.650 is out of bounds (ISTD Minimum Recovery 0.000 and ISTD Max Recovery 0.000). 9.788:Apex Retention Time 9.788 is out of bounds (ISTD Min RT -0.250 and ISTD Max RT 0.250)
Asparagine U-13C, U-15N neg | 9.77 | Internal Standard | KD100520_100520_i4h_g | 22016015 |  | 332145145 | [13]C4H8[15]N2O3 | 15014.92 | 9.741:Peak area 332145144.617 is out of bounds (ISTD Minimum Recovery 0.000 and ISTD Max Recovery 0.000). 9.741:Apex Retention Time 9.741 is out of bounds (ISTD Min RT -0.250 and ISTD Max RT 0.250)
Asparagine U-13C, U-15N neg | 9.77 | Internal Standard | KD100520_100520_i4h_m | 19954666 |  | 309103490 | [13]C4H8[15]N2O3 | 7143.21 | 9.739:Peak area 309103490.340 is out of bounds (ISTD Minimum Recovery 0.000 and ISTD Max Recovery 0.000). 9.739:Apex Retention Time 9.739 is out of bounds (ISTD Min RT -0.250 and ISTD Max RT 0.250)
Asparagine U-13C, U-15N neg | 9.77 | Internal Standard | KD100520_100520_i4h_v | 22210395 |  | 331041621 | [13]C4H8[15]N2O3 | 30969.08 | 9.759:Peak area 331041621.155 is out of bounds (ISTD Minimum Recovery 0.000 and ISTD Max Recovery 0.000). 9.759:Apex Retention Time 9.759 is out of bounds (ISTD Min RT -0.250 and ISTD Max RT 0.250)
Asparagine U-13C, U-15N neg | 9.77 | Internal Standard | KD100520_100520_i24h_g | 21399710 |  | 335821546 | [13]C4H8[15]N2O3 | 25491.74 | 9.784:Peak area 335821545.839 is out of bounds (ISTD Minimum Recovery 0.000 and ISTD Max Recovery 0.000). 9.784:Apex Retention Time 9.784 is out of bounds (ISTD Min RT -0.250 and ISTD Max RT 0.250)
Asparagine U-13C, U-15N neg | 9.77 | Internal Standard | KD100520_100520_i24h_m | 22689832 |  | 340052749 | [13]C4H8[15]N2O3 | 13876.70 | 9.769:Peak area 340052749.237 is out of bounds (ISTD Minimum Recovery 0.000 and ISTD Max Recovery 0.000). 9.769:Apex Retention Time 9.769 is out of bounds (ISTD Min RT -0.250 and ISTD Max RT 0.250)
Asparagine U-13C, U-15N neg | 9.77 | Internal Standard | KD100520_100520_i24h_v | 21668693 |  | 312596407 | [13]C4H8[15]N2O3 | 31198.29 | 9.764:Peak area 312596407.209 is out of bounds (ISTD Minimum Recovery 0.000 and ISTD Max Recovery 0.000). 9.764:Apex Retention Time 9.764 is out of bounds (ISTD Min RT -0.250 and ISTD Max RT 0.250)
Asparagine U-13C, U-15N neg | 9.77 | Internal Standard | KD100520_100520_m0h_nsg | 13565330 |  | 205134679 | [13]C4H8[15]N2O3 | 28704.35 | 9.823:Peak area 205134678.923 is out of bounds (ISTD Minimum Recovery 0.000 and ISTD Max Recovery 0.000). 9.823:Apex Retention Time 9.823 is out of bounds (ISTD Min RT -0.250 and ISTD Max RT 0.250)
Asparagine U-13C, U-15N neg | 9.77 | Internal Standard | KD100520_100520_m0h_nsm | 13271221 |  | 208770428 | [13]C4H8[15]N2O3 | 17909.33 | 9.793:Peak area 208770427.997 is out of bounds (ISTD Minimum Recovery 0.000 and ISTD Max Recovery 0.000). 9.793:Apex Retention Time 9.793 is out of bounds (ISTD Min RT -0.250 and ISTD Max RT 0.250)
Asparagine U-13C, U-15N neg | 9.77 | Internal Standard | KD100520_100520_m0h_nsv | 11842740 |  | 197876684 | [13]C4H8[15]N2O3 | 16797.31 | 9.728:Peak area 197876683.699 is out of bounds (ISTD Minimum Recovery 0.000 and ISTD Max Recovery 0.000). 9.728:Apex Retention Time 9.728 is out of bounds (ISTD Min RT -0.250 and ISTD Max RT 0.250)
Asparagine U-13C, U-15N neg | 9.77 | Internal Standard | KD100520_100520_m1h_g | 14182338 |  | 223044735 | [13]C4H8[15]N2O3 | 20746.64 | 9.803:Peak area 223044734.744 is out of bounds (ISTD Minimum Recovery 0.000 and ISTD Max Recovery 0.000). 9.803:Apex Retention Time 9.803 is out of bounds (ISTD Min RT -0.250 and ISTD Max RT 0.250)
Asparagine U-13C, U-15N neg | 9.77 | Internal Standard | KD100520_100520_m1h_m | 14245403 |  | 218567957 | [13]C4H8[15]N2O3 | 27928.46 | 9.825:Peak area 218567956.788 is out of bounds (ISTD Minimum Recovery 0.000 and ISTD Max Recovery 0.000). 9.825:Apex Retention Time 9.825 is out of bounds (ISTD Min RT -0.250 and ISTD Max RT 0.250)
Asparagine U-13C, U-15N neg | 9.77 | Internal Standard | KD100520_100520_m1h_v | 14994935 |  | 226756424 | [13]C4H8[15]N2O3 | 78190.86 | 9.794:Peak area 226756424.444 is out of bounds (ISTD Minimum Recovery 0.000 and ISTD Max Recovery 0.000). 9.794:Apex Retention Time 9.794 is out of bounds (ISTD Min RT -0.250 and ISTD Max RT 0.250)
Asparagine U-13C, U-15N neg | 9.77 | Internal Standard | KD100520_100520_m4h_g | 14960099 |  | 225585362 | [13]C4H8[15]N2O3 | 36100.28 | 9.810:Peak area 225585362.084 is out of bounds (ISTD Minimum Recovery 0.000 and ISTD Max Recovery 0.000). 9.810:Apex Retention Time 9.810 is out of bounds (ISTD Min RT -0.250 and ISTD Max RT 0.250)
Asparagine U-13C, U-15N neg | 9.77 | Internal Standard | KD100520_100520_m4h_m | 13955801 |  | 216028525 | [13]C4H8[15]N2O3 | INF | 9.845:Peak area 216028525.374 is out of bounds (ISTD Minimum Recovery 0.000 and ISTD Max Recovery 0.000). 9.845:Apex Retention Time 9.845 is out of bounds (ISTD Min RT -0.250 and ISTD Max RT 0.250)
Asparagine U-13C, U-15N neg | 9.77 | Internal Standard | KD100520_100520_m4h_v | 13433444 |  | 212928303 | [13]C4H8[15]N2O3 | 32771.13 | 9.794:Peak area 212928303.246 is out of bounds (ISTD Minimum Recovery 0.000 and ISTD Max Recovery 0.000). 9.794:Apex Retention Time 9.794 is out of bounds (ISTD Min RT -0.250 and ISTD Max RT 0.250)
Asparagine U-13C, U-15N neg | 9.77 | Internal Standard | KD100520_100520_m24h_g | 15460067 |  | 226833313 | [13]C4H8[15]N2O3 | 45686.70 | 9.809:Peak area 226833312.689 is out of bounds (ISTD Minimum Recovery 0.000 and ISTD Max Recovery 0.000). 9.809:Apex Retention Time 9.809 is out of bounds (ISTD Min RT -0.250 and ISTD Max RT 0.250)
Asparagine U-13C, U-15N neg | 9.77 | Internal Standard | KD100520_100520_m24h_m | 13630999 |  | 210888697 | [13]C4H8[15]N2O3 | 42894.59 | 9.812:Peak area 210888697.228 is out of bounds (ISTD Minimum Recovery 0.000 and ISTD Max Recovery 0.000). 9.812:Apex Retention Time 9.812 is out of bounds (ISTD Min RT -0.250 and ISTD Max RT 0.250)
Asparagine U-13C, U-15N neg | 9.77 | Internal Standard | KD100520_100520_m24h_nsg | 13119442 |  | 208463644 | [13]C4H8[15]N2O3 | 52997.32 | 9.827:Peak area 208463643.822 is out of bounds (ISTD Minimum Recovery 0.000 and ISTD Max Recovery 0.000). 9.827:Apex Retention Time 9.827 is out of bounds (ISTD Min RT -0.250 and ISTD Max RT 0.250)
Asparagine U-13C, U-15N neg | 9.77 | Internal Standard | KD100520_100520_m24h_nsm | 13713522 |  | 207880665 | [13]C4H8[15]N2O3 | 17861.14 | 9.772:Peak area 207880665.131 is out of bounds (ISTD Minimum Recovery 0.000 and ISTD Max Recovery 0.000). 9.772:Apex Retention Time 9.772 is out of bounds (ISTD Min RT -0.250 and ISTD Max RT 0.250)
Asparagine U-13C, U-15N neg | 9.77 | Internal Standard | KD100520_100520_m24h_nsv | 12770247 |  | 212174023 | [13]C4H8[15]N2O3 | 12967.36 | 9.775:Peak area 212174023.490 is out of bounds (ISTD Minimum Recovery 0.000 and ISTD Max Recovery 0.000). 9.775:Apex Retention Time 9.775 is out of bounds (ISTD Min RT -0.250 and ISTD Max RT 0.250)
Asparagine U-13C, U-15N neg | 9.77 | Internal Standard | KD100520_100520_m24h_v | 13393636 |  | 213692610 | [13]C4H8[15]N2O3 | 24874.73 | 9.810:Peak area 213692610.112 is out of bounds (ISTD Minimum Recovery 0.000 and ISTD Max Recovery 0.000). 9.810:Apex Retention Time 9.810 is out of bounds (ISTD Min RT -0.250 and ISTD Max RT 0.250)

## Asparagine U-13C, U-15N pos
Compound | RT | Type | Filename | Height | Sample ID | Area | Formula | S/N | Flag Details
Asparagine U-13C, U-15N pos | 9.77 | Internal Standard | KD100520_100520_i1h_g | 34245930 |  | 543367899 | [13]C4H8[15]N2O3 | 268989.66 | 9.797:Peak area 543367898.636 is out of bounds (ISTD Minimum Recovery 0.000 and ISTD Max Recovery 0.000). 9.797:Apex Retention Time 9.797 is out of bounds (ISTD Min RT -0.250 and ISTD Max RT 0.250)
Asparagine U-13C, U-15N pos | 9.77 | Internal Standard | KD100520_100520_i1h_m | 35691916 |  | 556780302 | [13]C4H8[15]N2O3 | INF | 9.785:Peak area 556780302.028 is out of bounds (ISTD Minimum Recovery 0.000 and ISTD Max Recovery 0.000). 9.785:Apex Retention Time 9.785 is out of bounds (ISTD Min RT -0.250 and ISTD Max RT 0.250)
Asparagine U-13C, U-15N pos | 9.77 | Internal Standard | KD100520_100520_i1h_v | 33232468 |  | 540717684 | [13]C4H8[15]N2O3 | 352314.22 | 9.744:Peak area 540717684.409 is out of bounds (ISTD Minimum Recovery 0.000 and ISTD Max Recovery 0.000). 9.744:Apex Retention Time 9.744 is out of bounds (ISTD Min RT -0.250 and ISTD Max RT 0.250)
Asparagine U-13C, U-15N pos | 9.77 | Internal Standard | KD100520_100520_i4h_g | 35034826 |  | 557987247 | [13]C4H8[15]N2O3 | 109298.93 | 9.784:Peak area 557987246.990 is out of bounds (ISTD Minimum Recovery 0.000 and ISTD Max Recovery 0.000). 9.784:Apex Retention Time 9.784 is out of bounds (ISTD Min RT -0.250 and ISTD Max RT 0.250)
Asparagine U-13C, U-15N pos | 9.77 | Internal Standard | KD100520_100520_i4h_m | 34560459 |  | 582035562 | [13]C4H8[15]N2O3 | 73371.58 | 9.781:Peak area 582035562.414 is out of bounds (ISTD Minimum Recovery 0.000 and ISTD Max Recovery 0.000). 9.781:Apex Retention Time 9.781 is out of bounds (ISTD Min RT -0.250 and ISTD Max RT 0.250)
Asparagine U-13C, U-15N pos | 9.77 | Internal Standard | KD100520_100520_i4h_v | 32659500 |  | 540897844 | [13]C4H8[15]N2O3 | 868058.87 | 9.802:Peak area 540897844.272 is out of bounds (ISTD Minimum Recovery 0.000 and ISTD Max Recovery 0.000). 9.802:Apex Retention Time 9.802 is out of bounds (ISTD Min RT -0.250 and ISTD Max RT 0.250)
Asparagine U-13C, U-15N pos | 9.77 | Internal Standard | KD100520_100520_i24h_g | 32748979 |  | 574870255 | [13]C4H8[15]N2O3 | 189282.81 | 9.712:Peak area 574870254.941 is out of bounds (ISTD Minimum Recovery 0.000 and ISTD Max Recovery 0.000). 9.712:Apex Retention Time 9.712 is out of bounds (ISTD Min RT -0.250 and ISTD Max RT 0.250)
Asparagine U-13C, U-15N pos | 9.77 | Internal Standard | KD100520_100520_i24h_m | 34628586 |  | 563241910 | [13]C4H8[15]N2O3 | INF | 9.783:Peak area 563241909.774 is out of bounds (ISTD Minimum Recovery 0.000 and ISTD Max Recovery 0.000). 9.783:Apex Retention Time 9.783 is out of bounds (ISTD Min RT -0.250 and ISTD Max RT 0.250)
Asparagine U-13C, U-15N pos | 9.77 | Internal Standard | KD100520_100520_i24h_v | 34553471 |  | 544930324 | [13]C4H8[15]N2O3 | 442138.54 | 9.778:Peak area 544930324.255 is out of bounds (ISTD Minimum Recovery 0.000 and ISTD Max Recovery 0.000). 9.778:Apex Retention Time 9.778 is out of bounds (ISTD Min RT -0.250 and ISTD Max RT 0.250)
Asparagine U-13C, U-15N pos | 9.77 | Internal Standard | KD100520_100520_m0h_nsg | 14347390 |  | 233329489 | [13]C4H8[15]N2O3 | INF | 9.837:Peak area 233329489.358 is out of bounds (ISTD Minimum Recovery 0.000 and ISTD Max Recovery 0.000). 9.837:Apex Retention Time 9.837 is out of bounds (ISTD Min RT -0.250 and ISTD Max RT 0.250)
Asparagine U-13C, U-15N pos | 9.77 | Internal Standard | KD100520_100520_m0h_nsm | 14775864 |  | 241538011 | [13]C4H8[15]N2O3 | INF | 9.779:Peak area 241538010.517 is out of bounds (ISTD Minimum Recovery 0.000 and ISTD Max Recovery 0.000). 9.779:Apex Retention Time 9.779 is out of bounds (ISTD Min RT -0.250 and ISTD Max RT 0.250)
Asparagine U-13C, U-15N pos | 9.77 | Internal Standard | KD100520_100520_m0h_nsv | 14843143 |  | 238124139 | [13]C4H8[15]N2O3 | INF | 9.798:Peak area 238124138.982 is out of bounds (ISTD Minimum Recovery 0.000 and ISTD Max Recovery 0.000). 9.798:Apex Retention Time 9.798 is out of bounds (ISTD Min RT -0.250 and ISTD Max RT 0.250)
Asparagine U-13C, U-15N pos | 9.77 | Internal Standard | KD100520_100520_m1h_g | 16722376 |  | 265373547 | [13]C4H8[15]N2O3 | INF | 9.817:Peak area 265373546.553 is out of bounds (ISTD Minimum Recovery 0.000 and ISTD Max Recovery 0.000). 9.817:Apex Retention Time 9.817 is out of bounds (ISTD Min RT -0.250 and ISTD Max RT 0.250)
Asparagine U-13C, U-15N pos | 9.77 | Internal Standard | KD100520_100520_m1h_m | 14976683 |  | 242846046 | [13]C4H8[15]N2O3 | INF | 9.839:Peak area 242846046.040 is out of bounds (ISTD Minimum Recovery 0.000 and ISTD Max Recovery 0.000). 9.839:Apex Retention Time 9.839 is out of bounds (ISTD Min RT -0.250 and ISTD Max RT 0.250)
Asparagine U-13C, U-15N pos | 9.77 | Internal Standard | KD100520_100520_m1h_v | 16309034 |  | 256007249 | [13]C4H8[15]N2O3 | INF | 9.808:Peak area 256007249.258 is out of bounds (ISTD Minimum Recovery 0.000 and ISTD Max Recovery 0.000). 9.808:Apex Retention Time 9.808 is out of bounds (ISTD Min RT -0.250 and ISTD Max RT 0.250)
Asparagine U-13C, U-15N pos | 9.77 | Internal Standard | KD100520_100520_m4h_g | 16229423 |  | 259042007 | [13]C4H8[15]N2O3 | INF | 9.824:Peak area 259042007.046 is out of bounds (ISTD Minimum Recovery 0.000 and ISTD Max Recovery 0.000). 9.824:Apex Retention Time 9.824 is out of bounds (ISTD Min RT -0.250 and ISTD Max RT 0.250)
Asparagine U-13C, U-15N pos | 9.77 | Internal Standard | KD100520_100520_m4h_m | 15923652 |  | 262113271 | [13]C4H8[15]N2O3 | 308600.63 | 9.831:Peak area 262113270.720 is out of bounds (ISTD Minimum Recovery 0.000 and ISTD Max Recovery 0.000). 9.831:Apex Retention Time 9.831 is out of bounds (ISTD Min RT -0.250 and ISTD Max RT 0.250)
Asparagine U-13C, U-15N pos | 9.77 | Internal Standard | KD100520_100520_m4h_v | 16470625 |  | 258368257 | [13]C4H8[15]N2O3 | INF | 9.836:Peak area 258368257.079 is out of bounds (ISTD Minimum Recovery 0.000 and ISTD Max Recovery 0.000). 9.836:Apex Retention Time 9.836 is out of bounds (ISTD Min RT -0.250 and ISTD Max RT 0.250)
Asparagine U-13C, U-15N pos | 9.77 | Internal Standard | KD100520_100520_m24h_g | 15859895 |  | 265718833 | [13]C4H8[15]N2O3 | INF | 9.823:Peak area 265718832.744 is out of bounds (ISTD Minimum Recovery 0.000 and ISTD Max Recovery 0.000). 9.823:Apex Retention Time 9.823 is out of bounds (ISTD Min RT -0.250 and ISTD Max RT 0.250)
Asparagine U-13C, U-15N pos | 9.77 | Internal Standard | KD100520_100520_m24h_m | 16705466 |  | 270152862 | [13]C4H8[15]N2O3 | 282727.38 | 9.826:Peak area 270152862.027 is out of bounds (ISTD Minimum Recovery 0.000 and ISTD Max Recovery 0.000). 9.826:Apex Retention Time 9.826 is out of bounds (ISTD Min RT -0.250 and ISTD Max RT 0.250)
Asparagine U-13C, U-15N pos | 9.77 | Internal Standard | KD100520_100520_m24h_nsg | 13631391 |  | 234936703 | [13]C4H8[15]N2O3 | INF | 9.813:Peak area 234936702.813 is out of bounds (ISTD Minimum Recovery 0.000 and ISTD Max Recovery 0.000). 9.813:Apex Retention Time 9.813 is out of bounds (ISTD Min RT -0.250 and ISTD Max RT 0.250)
Asparagine U-13C, U-15N pos | 9.77 | Internal Standard | KD100520_100520_m24h_nsm | 15209788 |  | 258763278 | [13]C4H8[15]N2O3 | 218864.60 | 9.786:Peak area 258763278.248 is out of bounds (ISTD Minimum Recovery 0.000 and ISTD Max Recovery 0.000). 9.786:Apex Retention Time 9.786 is out of bounds (ISTD Min RT -0.250 and ISTD Max RT 0.250)
Asparagine U-13C, U-15N pos | 9.77 | Internal Standard | KD100520_100520_m24h_nsv | 15001225 |  | 239558194 | [13]C4H8[15]N2O3 | INF | 9.789:Peak area 239558193.850 is out of bounds (ISTD Minimum Recovery 0.000 and ISTD Max Recovery 0.000). 9.789:Apex Retention Time 9.789 is out of bounds (ISTD Min RT -0.250 and ISTD Max RT 0.250)
Asparagine U-13C, U-15N pos | 9.77 | Internal Standard | KD100520_100520_m24h_v | 16999806 |  | 271149806 | [13]C4H8[15]N2O3 | INF | 9.824:Peak area 271149805.974 is out of bounds (ISTD Minimum Recovery 0.000 and ISTD Max Recovery 0.000). 9.824:Apex Retention Time 9.824 is out of bounds (ISTD Min RT -0.250 and ISTD Max RT 0.250)

## Aspartate neg
Compound | Filename | Sample ID | Area | Area_IS | Response ratio | Cal. Conc. (uM)
Aspartate neg | KD100520_100520_i1h_g |  | 142915445 | 665788324 | 0.21466 | 10.725
Aspartate neg | KD100520_100520_i1h_m |  | 75929814 | 688681635 | 0.11025 | 5.3006
Aspartate neg | KD100520_100520_i1h_v |  | 94603545 | 630578988 | 0.15003 | 7.3423
Aspartate neg | KD100520_100520_i4h_g |  | 179534241 | 652073677 | 0.27533 | 13.9558
Aspartate neg | KD100520_100520_i4h_m |  | 92978953 | 634952711 | 0.14643 | 7.1564
Aspartate neg | KD100520_100520_i4h_v |  | 120011511 | 640154811 | 0.18747 | 9.2938
Aspartate neg | KD100520_100520_i24h_g |  | 87898042 | 641519087 | 0.13702 | 6.6704
Aspartate neg | KD100520_100520_i24h_m |  | 96681314 | 652409081 | 0.14819 | 7.2473
Aspartate neg | KD100520_100520_i24h_v |  | 146710680 | 644906062 | 0.22749 | 11.4045
Aspartate neg | KD100520_100520_m0h_nsg |  | 1544711 | 744992878 | 0.0020735 | 0.079228
Aspartate neg | KD100520_100520_m0h_nsm |  | 1951330 | 771437418 | 0.0025295 | 0.09777
Aspartate neg | KD100520_100520_m0h_nsv |  | 826373 | 742652248 | 0.0011127 | 0.041016
Aspartate neg | KD100520_100520_m1h_g |  | 13845213 | 714582984 | 0.019375 | 0.84242
Aspartate neg | KD100520_100520_m1h_m |  | 10138831 | 804293897 | 0.012606 | 0.53465
Aspartate neg | KD100520_100520_m1h_v |  | 9398170 | 784651023 | 0.011978 | 0.5065
Aspartate neg | KD100520_100520_m4h_g |  | 13849964 | 705360576 | 0.019635 | 0.85439
Aspartate neg | KD100520_100520_m4h_m |  | 9442766 | 716583096 | 0.013177 | 0.56032
Aspartate neg | KD100520_100520_m4h_v |  | 11521969 | 795424094 | 0.014485 | 0.61931
Aspartate neg | KD100520_100520_m24h_g |  | 24999394 | 690631434 | 0.036198 | 1.6318
Aspartate neg | KD100520_100520_m24h_m |  | 15897956 | 769954631 | 0.020648 | 0.90107
Aspartate neg | KD100520_100520_m24h_nsg |  | 1866398 | 798709825 | 0.0023368 | 0.089909
Aspartate neg | KD100520_100520_m24h_nsm |  | 2202371 | 746839530 | 0.0029489 | 0.115
Aspartate neg | KD100520_100520_m24h_nsv |  | 1183028 | 698164906 | 0.0016945 | 0.063996
Aspartate neg | KD100520_100520_m24h_v |  | 16476928 | 814932457 | 0.020219 | 0.88127

## Aspartate pos
Compound | RT | Type | Filename | Height | Sample ID | Area | Formula | S/N | Flag Details
Aspartate pos | 10.26 | Target Compound | KD100520_100520_i1h_g | 3573518 |  | 46696087 | C4H7NO4 | 5947.40
Aspartate pos | 10.26 | Target Compound | KD100520_100520_i1h_m | 1656807 |  | 21928586 | C4H7NO4 | 1503.51
Aspartate pos | 10.26 | Target Compound | KD100520_100520_i1h_v | 2185711 |  | 28911318 | C4H7NO4 | 1641.66
Aspartate pos | 10.26 | Target Compound | KD100520_100520_i4h_g | 3926112 |  | 57624459 | C4H7NO4 | 7438.45
Aspartate pos | 10.26 | Target Compound | KD100520_100520_i4h_m | 2560816 |  | 31338282 | C4H7NO4 | 3473.11
Aspartate pos | 10.26 | Target Compound | KD100520_100520_i4h_v | 2805238 |  | 35954259 | C4H7NO4 | 3977.48
Aspartate pos | 10.26 | Target Compound | KD100520_100520_i24h_g | 1989589 |  | 27458814 | C4H7NO4 | 1835.44
Aspartate pos | 10.26 | Target Compound | KD100520_100520_i24h_m | 2280452 |  | 30391178 | C4H7NO4 | 2684.83
Aspartate pos | 10.26 | Target Compound | KD100520_100520_i24h_v | 3273525 |  | 44687992 | C4H7NO4 | 3507.36
Aspartate pos | 10.26 | Target Compound | KD100520_100520_m0h_nsg | 20699 |  | 197898 | C4H7NO4 | INF
Aspartate pos | 10.26 | Target Compound | KD100520_100520_m0h_nsm | 24392 |  | 328711 | C4H7NO4 | 692.90
Aspartate pos | 10.26 | Target Compound | KD100520_100520_m0h_nsv | 17449 |  | 156196 | C4H7NO4 | INF
Aspartate pos | 10.26 | Target Compound | KD100520_100520_m1h_g | 190897 |  | 2015105 | C4H7NO4 | 1599.64
Aspartate pos | 10.26 | Target Compound | KD100520_100520_m1h_m | 80638 |  | 1061816 | C4H7NO4 | INF
Aspartate pos | 10.26 | Target Compound | KD100520_100520_m1h_v | 107243 |  | 1378326 | C4H7NO4 | INF
Aspartate pos | 10.26 | Target Compound | KD100520_100520_m4h_g | 157465 |  | 2013618 | C4H7NO4 | INF
Aspartate pos | 10.26 | Target Compound | KD100520_100520_m4h_m | 110382 |  | 1327793 | C4H7NO4 | INF
Aspartate pos | 10.26 | Target Compound | KD100520_100520_m4h_v | 122915 |  | 1570765 | C4H7NO4 | 1553.29
Aspartate pos | 10.26 | Target Compound | KD100520_100520_m24h_g | 312537 |  | 4044251 | C4H7NO4 | 3102.26
Aspartate pos | 10.26 | Target Compound | KD100520_100520_m24h_m | 171584 |  | 2236573 | C4H7NO4 | 552.50
Aspartate pos | 10.26 | Target Compound | KD100520_100520_m24h_nsg | 23935 |  | 218580 | C4H7NO4 | INF
Aspartate pos | 10.26 | Target Compound | KD100520_100520_m24h_nsm | 16156 |  | 194472 | C4H7NO4 | INF
Aspartate pos | 10.26 | Target Compound | KD100520_100520_m24h_nsv | 19667 |  | 266937 | C4H7NO4 | INF
Aspartate pos | 10.26 | Target Compound | KD100520_100520_m24h_v | 203007 |  | 2087529 | C4H7NO4 | 9366.78

## Aspartate U-13C neg
Compound | Filename | Sample ID | Area | Area_IS | Response ratio | Cal. Conc. (uM)
Aspartate U-13C neg | KD100520_100520_i1h_g |  | 13622272 | 665788324 | 0.02046 | 0.89241
Aspartate U-13C neg | KD100520_100520_i1h_m |  | 6248113 | 688681635 | 0.0090726 | 0.37754
Aspartate U-13C neg | KD100520_100520_i1h_v |  | 3561928 | 630578988 | 0.0056487 | 0.22871
Aspartate U-13C neg | KD100520_100520_i4h_g |  | 3765683 | 652073677 | 0.0057749 | 0.23412
Aspartate U-13C neg | KD100520_100520_i4h_m |  | 5680497 | 634952711 | 0.0089463 | 0.37199
Aspartate U-13C neg | KD100520_100520_i4h_v |  | 3739021 | 640154811 | 0.0058408 | 0.23695
Aspartate U-13C neg | KD100520_100520_i24h_g |  | 3980786 | 641519087 | 0.0062052 | 0.25262
Aspartate U-13C neg | KD100520_100520_i24h_m |  | 5729430 | 652409081 | 0.008782 | 0.36476
Aspartate U-13C neg | KD100520_100520_i24h_v |  | 4235995 | 644906062 | 0.0065684 | 0.26828
Aspartate U-13C neg | KD100520_100520_m0h_nsg |  | 8060736 | 744992878 | 0.01082 | 0.45486
Aspartate U-13C neg | KD100520_100520_m0h_nsm |  | 8854604 | 771437418 | 0.011478 | 0.48418
Aspartate U-13C neg | KD100520_100520_m0h_nsv |  | 7787090 | 742652248 | 0.010486 | 0.44001
Aspartate U-13C neg | KD100520_100520_m1h_g |  | 337308346 | 714582984 | 0.47204 | 24.6837
Aspartate U-13C neg | KD100520_100520_m1h_m |  | 9111417 | 804293897 | 0.011328 | 0.47751
Aspartate U-13C neg | KD100520_100520_m1h_v |  | 8189864 | 784651023 | 0.010438 | 0.43788
Aspartate U-13C neg | KD100520_100520_m4h_g |  | 338781128 | 705360576 | 0.48029 | 25.1408
Aspartate U-13C neg | KD100520_100520_m4h_m |  | 11850494 | 716583096 | 0.016538 | 0.71249
Aspartate U-13C neg | KD100520_100520_m4h_v |  | 10248203 | 795424094 | 0.012884 | 0.54713
Aspartate U-13C neg | KD100520_100520_m24h_g |  | 319525933 | 690631434 | 0.46266 | 24.1653
Aspartate U-13C neg | KD100520_100520_m24h_m |  | 38962752 | 769954631 | 0.050604 | 2.3258
Aspartate U-13C neg | KD100520_100520_m24h_nsg |  | 17684869 | 798709825 | 0.022142 | 0.97017
Aspartate U-13C neg | KD100520_100520_m24h_nsm |  | 17414955 | 746839530 | 0.023318 | 1.0248
Aspartate U-13C neg | KD100520_100520_m24h_nsv |  | 15987577 | 698164906 | 0.022899 | 1.0053
Aspartate U-13C neg | KD100520_100520_m24h_v |  | 17349257 | 814932457 | 0.021289 | 0.93069

## Aspartate U-13C pos
Compound | RT | Type | Filename | Height | Sample ID | Area | Formula | S/N | Flag Details
Aspartate U-13C pos | 10.26 | Target Compound | KD100520_100520_i1h_g | 310007 |  | 3713775 | [13]C4H7NO4 | 5566.67
Aspartate U-13C pos | 10.26 | Target Compound | KD100520_100520_i1h_m | 97775 |  | 1179230 | [13]C4H7NO4 | INF
Aspartate U-13C pos | 10.26 | Target Compound | KD100520_100520_i1h_v | 63020 |  | 682495 | [13]C4H7NO4 | INF
Aspartate U-13C pos | 10.26 | Target Compound | KD100520_100520_i4h_g | 59499 |  | 792970 | [13]C4H7NO4 | 91633.05
Aspartate U-13C pos | 10.26 | Target Compound | KD100520_100520_i4h_m | 125564 |  | 1399094 | [13]C4H7NO4 | 3890.70
Aspartate U-13C pos | 10.26 | Target Compound | KD100520_100520_i4h_v | 55392 |  | 777163 | [13]C4H7NO4 | INF
Aspartate U-13C pos | 10.26 | Target Compound | KD100520_100520_i24h_g | 53208 |  | 758716 | [13]C4H7NO4 | INF
Aspartate U-13C pos | 10.26 | Target Compound | KD100520_100520_i24h_m | 87474 |  | 1067303 | [13]C4H7NO4 | INF
Aspartate U-13C pos | 10.26 | Target Compound | KD100520_100520_i24h_v | 49183 |  | 703397 | [13]C4H7NO4 | INF
Aspartate U-13C pos | 10.26 | Target Compound | KD100520_100520_m0h_nsg | 83690 |  | 952525 | [13]C4H7NO4 | INF
Aspartate U-13C pos | 10.26 | Target Compound | KD100520_100520_m0h_nsm | 146867 |  | 1364689 | [13]C4H7NO4 | INF
Aspartate U-13C pos | 10.26 | Target Compound | KD100520_100520_m0h_nsv | 109640 |  | 1204738 | [13]C4H7NO4 | INF
Aspartate U-13C pos | 10.26 | Target Compound | KD100520_100520_m1h_g | 8132121 |  | 102311494 | [13]C4H7NO4 | 18343.93
Aspartate U-13C pos | 10.26 | Target Compound | KD100520_100520_m1h_m | 111472 |  | 1338211 | [13]C4H7NO4 | INF
Aspartate U-13C pos | 10.26 | Target Compound | KD100520_100520_m1h_v | 124077 |  | 1381279 | [13]C4H7NO4 | INF
Aspartate U-13C pos | 10.26 | Target Compound | KD100520_100520_m4h_g | 6897780 |  | 96680544 | [13]C4H7NO4 | 20154.71
Aspartate U-13C pos | 10.26 | Target Compound | KD100520_100520_m4h_m | 198987 |  | 2260424 | [13]C4H7NO4 | 13558.30
Aspartate U-13C pos | 10.26 | Target Compound | KD100520_100520_m4h_v | 132458 |  | 1602600 | [13]C4H7NO4 | INF
Aspartate U-13C pos | 10.26 | Target Compound | KD100520_100520_m24h_g | 7427000 |  | 96656408 | [13]C4H7NO4 | 15494.74
Aspartate U-13C pos | 10.26 | Target Compound | KD100520_100520_m24h_m | 675896 |  | 8068142 | [13]C4H7NO4 | 8988.69
Aspartate U-13C pos | 10.26 | Target Compound | KD100520_100520_m24h_nsg | 230793 |  | 2774468 | [13]C4H7NO4 | INF
Aspartate U-13C pos | 10.26 | Target Compound | KD100520_100520_m24h_nsm | 271853 |  | 3121706 | [13]C4H7NO4 | 32600.54
Aspartate U-13C pos | 10.26 | Target Compound | KD100520_100520_m24h_nsv | 235136 |  | 2674689 | [13]C4H7NO4 | 2493.90
Aspartate U-13C pos | 10.26 | Target Compound | KD100520_100520_m24h_v | 226969 |  | 2547736 | [13]C4H7NO4 | INF

## Aspartate U-13C, U-15N neg
Compound | RT | Type | Filename | Height | Sample ID | Area | Formula | S/N | Flag Details
Aspartate U-13C, U-15N neg | 10.26 | Internal Standard | KD100520_100520_i1h_g | 42151394 |  | 665788324 | [13]C4H7[15]NO4 | 32403.32 | 10.216:Peak area 665788324.074 is out of bounds (ISTD Minimum Recovery 0.000 and ISTD Max Recovery 0.000). 10.216:Apex Retention Time 10.216 is out of bounds (ISTD Min RT -0.250 and ISTD Max RT 0.250)
Aspartate U-13C, U-15N neg | 10.26 | Internal Standard | KD100520_100520_i1h_m | 42838497 |  | 688681635 | [13]C4H7[15]NO4 | 28514.60 | 10.264:Peak area 688681635.015 is out of bounds (ISTD Minimum Recovery 0.000 and ISTD Max Recovery 0.000). 10.264:Apex Retention Time 10.264 is out of bounds (ISTD Min RT -0.250 and ISTD Max RT 0.250)
Aspartate U-13C, U-15N neg | 10.26 | Internal Standard | KD100520_100520_i1h_v | 41695514 |  | 630578988 | [13]C4H7[15]NO4 | 21156.90 | 10.253:Peak area 630578987.708 is out of bounds (ISTD Minimum Recovery 0.000 and ISTD Max Recovery 0.000). 10.253:Apex Retention Time 10.253 is out of bounds (ISTD Min RT -0.250 and ISTD Max RT 0.250)
Aspartate U-13C, U-15N neg | 10.26 | Internal Standard | KD100520_100520_i4h_g | 41345258 |  | 652073677 | [13]C4H7[15]NO4 | 31653.48 | 10.261:Peak area 652073677.317 is out of bounds (ISTD Minimum Recovery 0.000 and ISTD Max Recovery 0.000). 10.261:Apex Retention Time 10.261 is out of bounds (ISTD Min RT -0.250 and ISTD Max RT 0.250)
Aspartate U-13C, U-15N neg | 10.26 | Internal Standard | KD100520_100520_i4h_m | 38086805 |  | 634952711 | [13]C4H7[15]NO4 | 23569.24 | 10.202:Peak area 634952711.334 is out of bounds (ISTD Minimum Recovery 0.000 and ISTD Max Recovery 0.000). 10.202:Apex Retention Time 10.202 is out of bounds (ISTD Min RT -0.250 and ISTD Max RT 0.250)
Aspartate U-13C, U-15N neg | 10.26 | Internal Standard | KD100520_100520_i4h_v | 41368858 |  | 640154811 | [13]C4H7[15]NO4 | 24313.71 | 10.280:Peak area 640154810.842 is out of bounds (ISTD Minimum Recovery 0.000 and ISTD Max Recovery 0.000). 10.280:Apex Retention Time 10.280 is out of bounds (ISTD Min RT -0.250 and ISTD Max RT 0.250)
Aspartate U-13C, U-15N neg | 10.26 | Internal Standard | KD100520_100520_i24h_g | 42478670 |  | 641519087 | [13]C4H7[15]NO4 | 31185.12 | 10.251:Peak area 641519087.360 is out of bounds (ISTD Minimum Recovery 0.000 and ISTD Max Recovery 0.000). 10.251:Apex Retention Time 10.251 is out of bounds (ISTD Min RT -0.250 and ISTD Max RT 0.250)
Aspartate U-13C, U-15N neg | 10.26 | Internal Standard | KD100520_100520_i24h_m | 41947263 |  | 652409081 | [13]C4H7[15]NO4 | 21695.46 | 10.233:Peak area 652409080.902 is out of bounds (ISTD Minimum Recovery 0.000 and ISTD Max Recovery 0.000). 10.233:Apex Retention Time 10.233 is out of bounds (ISTD Min RT -0.250 and ISTD Max RT 0.250)
Aspartate U-13C, U-15N neg | 10.26 | Internal Standard | KD100520_100520_i24h_v | 40624656 |  | 644906062 | [13]C4H7[15]NO4 | 28481.84 | 10.227:Peak area 644906062.396 is out of bounds (ISTD Minimum Recovery 0.000 and ISTD Max Recovery 0.000). 10.227:Apex Retention Time 10.227 is out of bounds (ISTD Min RT -0.250 and ISTD Max RT 0.250)
Aspartate U-13C, U-15N neg | 10.26 | Internal Standard | KD100520_100520_m0h_nsg | 51428276 |  | 744992878 | [13]C4H7[15]NO4 | 194925.25 | 10.250:Peak area 744992877.743 is out of bounds (ISTD Minimum Recovery 0.000 and ISTD Max Recovery 0.000). 10.250:Apex Retention Time 10.250 is out of bounds (ISTD Min RT -0.250 and ISTD Max RT 0.250)
Aspartate U-13C, U-15N neg | 10.26 | Internal Standard | KD100520_100520_m0h_nsm | 51716937 |  | 771437418 | [13]C4H7[15]NO4 | 49373.25 | 10.219:Peak area 771437418.290 is out of bounds (ISTD Minimum Recovery 0.000 and ISTD Max Recovery 0.000). 10.219:Apex Retention Time 10.219 is out of bounds (ISTD Min RT -0.250 and ISTD Max RT 0.250)
Aspartate U-13C, U-15N neg | 10.26 | Internal Standard | KD100520_100520_m0h_nsv | 48081620 |  | 742652248 | [13]C4H7[15]NO4 | 97930.96 | 10.238:Peak area 742652248.011 is out of bounds (ISTD Minimum Recovery 0.000 and ISTD Max Recovery 0.000). 10.238:Apex Retention Time 10.238 is out of bounds (ISTD Min RT -0.250 and ISTD Max RT 0.250)
Aspartate U-13C, U-15N neg | 10.26 | Internal Standard | KD100520_100520_m1h_g | 44501309 |  | 714582984 | [13]C4H7[15]NO4 | 93994.18 | 10.229:Peak area 714582984.263 is out of bounds (ISTD Minimum Recovery 0.000 and ISTD Max Recovery 0.000). 10.229:Apex Retention Time 10.229 is out of bounds (ISTD Min RT -0.250 and ISTD Max RT 0.250)
Aspartate U-13C, U-15N neg | 10.26 | Internal Standard | KD100520_100520_m1h_m | 54885763 |  | 804293897 | [13]C4H7[15]NO4 | 224947.29 | 10.222:Peak area 804293896.777 is out of bounds (ISTD Minimum Recovery 0.000 and ISTD Max Recovery 0.000). 10.222:Apex Retention Time 10.222 is out of bounds (ISTD Min RT -0.250 and ISTD Max RT 0.250)
Aspartate U-13C, U-15N neg | 10.26 | Internal Standard | KD100520_100520_m1h_v | 50234601 |  | 784651023 | [13]C4H7[15]NO4 | 228767.70 | 10.220:Peak area 784651022.900 is out of bounds (ISTD Minimum Recovery 0.000 and ISTD Max Recovery 0.000). 10.220:Apex Retention Time 10.220 is out of bounds (ISTD Min RT -0.250 and ISTD Max RT 0.250)
Aspartate U-13C, U-15N neg | 10.26 | Internal Standard | KD100520_100520_m4h_g | 42653436 |  | 705360576 | [13]C4H7[15]NO4 | 126188.16 | 10.266:Peak area 705360576.273 is out of bounds (ISTD Minimum Recovery 0.000 and ISTD Max Recovery 0.000). 10.266:Apex Retention Time 10.266 is out of bounds (ISTD Min RT -0.250 and ISTD Max RT 0.250)
Aspartate U-13C, U-15N neg | 10.26 | Internal Standard | KD100520_100520_m4h_m | 43989161 |  | 716583096 | [13]C4H7[15]NO4 | 509708.01 | 10.301:Peak area 716583096.063 is out of bounds (ISTD Minimum Recovery 0.000 and ISTD Max Recovery 0.000). 10.301:Apex Retention Time 10.301 is out of bounds (ISTD Min RT -0.250 and ISTD Max RT 0.250)
Aspartate U-13C, U-15N neg | 10.26 | Internal Standard | KD100520_100520_m4h_v | 54425693 |  | 795424094 | [13]C4H7[15]NO4 | 151544.05 | 10.220:Peak area 795424093.584 is out of bounds (ISTD Minimum Recovery 0.000 and ISTD Max Recovery 0.000). 10.220:Apex Retention Time 10.220 is out of bounds (ISTD Min RT -0.250 and ISTD Max RT 0.250)
Aspartate U-13C, U-15N neg | 10.26 | Internal Standard | KD100520_100520_m24h_g | 41525437 |  | 690631434 | [13]C4H7[15]NO4 | 175314.07 | 10.206:Peak area 690631434.199 is out of bounds (ISTD Minimum Recovery 0.000 and ISTD Max Recovery 0.000). 10.206:Apex Retention Time 10.206 is out of bounds (ISTD Min RT -0.250 and ISTD Max RT 0.250)
Aspartate U-13C, U-15N neg | 10.26 | Internal Standard | KD100520_100520_m24h_m | 49601792 |  | 769954631 | [13]C4H7[15]NO4 | 52072.55 | 10.238:Peak area 769954631.175 is out of bounds (ISTD Minimum Recovery 0.000 and ISTD Max Recovery 0.000). 10.238:Apex Retention Time 10.238 is out of bounds (ISTD Min RT -0.250 and ISTD Max RT 0.250)
Aspartate U-13C, U-15N neg | 10.26 | Internal Standard | KD100520_100520_m24h_nsg | 53134004 |  | 798709825 | [13]C4H7[15]NO4 | 44586.64 | 10.224:Peak area 798709825.191 is out of bounds (ISTD Minimum Recovery 0.000 and ISTD Max Recovery 0.000). 10.224:Apex Retention Time 10.224 is out of bounds (ISTD Min RT -0.250 and ISTD Max RT 0.250)
Aspartate U-13C, U-15N neg | 10.26 | Internal Standard | KD100520_100520_m24h_nsm | 49946178 |  | 746839530 | [13]C4H7[15]NO4 | 61132.81 | 10.226:Peak area 746839529.776 is out of bounds (ISTD Minimum Recovery 0.000 and ISTD Max Recovery 0.000). 10.226:Apex Retention Time 10.226 is out of bounds (ISTD Min RT -0.250 and ISTD Max RT 0.250)
Aspartate U-13C, U-15N neg | 10.26 | Internal Standard | KD100520_100520_m24h_nsv | 45470617 |  | 698164906 | [13]C4H7[15]NO4 | 107018.27 | 10.200:Peak area 698164906.007 is out of bounds (ISTD Minimum Recovery 0.000 and ISTD Max Recovery 0.000). 10.200:Apex Retention Time 10.200 is out of bounds (ISTD Min RT -0.250 and ISTD Max RT 0.250)
Aspartate U-13C, U-15N neg | 10.26 | Internal Standard | KD100520_100520_m24h_v | 51749139 |  | 814932457 | [13]C4H7[15]NO4 | 97395.53 | 10.235:Peak area 814932457.244 is out of bounds (ISTD Minimum Recovery 0.000 and ISTD Max Recovery 0.000). 10.235:Apex Retention Time 10.235 is out of bounds (ISTD Min RT -0.250 and ISTD Max RT 0.250)

## Aspartate U-13C, U-15N pos
Compound | RT | Type | Filename | Height | Sample ID | Area | Formula | S/N | Flag Details
Aspartate U-13C, U-15N pos | 10.26 | Internal Standard | KD100520_100520_i1h_g | 17967353 |  | 244372763 | [13]C4H7[15]NO4 | 5542.38 | 10.260:Peak area 244372763.020 is out of bounds (ISTD Minimum Recovery 0.000 and ISTD Max Recovery 0.000). 10.260:Apex Retention Time 10.260 is out of bounds (ISTD Min RT -0.250 and ISTD Max RT 0.250)
Aspartate U-13C, U-15N pos | 10.26 | Internal Standard | KD100520_100520_i1h_m | 16585661 |  | 235029539 | [13]C4H7[15]NO4 | 5011.16 | 10.279:Peak area 235029539.406 is out of bounds (ISTD Minimum Recovery 0.000 and ISTD Max Recovery 0.000). 10.279:Apex Retention Time 10.279 is out of bounds (ISTD Min RT -0.250 and ISTD Max RT 0.250)
Aspartate U-13C, U-15N pos | 10.26 | Internal Standard | KD100520_100520_i1h_v | 15387123 |  | 217665353 | [13]C4H7[15]NO4 | 8878.73 | 10.296:Peak area 217665352.569 is out of bounds (ISTD Minimum Recovery 0.000 and ISTD Max Recovery 0.000). 10.296:Apex Retention Time 10.296 is out of bounds (ISTD Min RT -0.250 and ISTD Max RT 0.250)
Aspartate U-13C, U-15N pos | 10.26 | Internal Standard | KD100520_100520_i4h_g | 15257084 |  | 229959690 | [13]C4H7[15]NO4 | 7560.81 | 10.276:Peak area 229959690.171 is out of bounds (ISTD Minimum Recovery 0.000 and ISTD Max Recovery 0.000). 10.276:Apex Retention Time 10.276 is out of bounds (ISTD Min RT -0.250 and ISTD Max RT 0.250)
Aspartate U-13C, U-15N pos | 10.26 | Internal Standard | KD100520_100520_i4h_m | 18584284 |  | 240294545 | [13]C4H7[15]NO4 | 6444.29 | 10.246:Peak area 240294544.667 is out of bounds (ISTD Minimum Recovery 0.000 and ISTD Max Recovery 0.000). 10.246:Apex Retention Time 10.246 is out of bounds (ISTD Min RT -0.250 and ISTD Max RT 0.250)
Aspartate U-13C, U-15N pos | 10.26 | Internal Standard | KD100520_100520_i4h_v | 16143791 |  | 215396908 | [13]C4H7[15]NO4 | 11573.44 | 10.266:Peak area 215396907.557 is out of bounds (ISTD Minimum Recovery 0.000 and ISTD Max Recovery 0.000). 10.266:Apex Retention Time 10.266 is out of bounds (ISTD Min RT -0.250 and ISTD Max RT 0.250)
Aspartate U-13C, U-15N pos | 10.26 | Internal Standard | KD100520_100520_i24h_g | 15646739 |  | 226140578 | [13]C4H7[15]NO4 | 6526.37 | 10.265:Peak area 226140578.074 is out of bounds (ISTD Minimum Recovery 0.000 and ISTD Max Recovery 0.000). 10.265:Apex Retention Time 10.265 is out of bounds (ISTD Min RT -0.250 and ISTD Max RT 0.250)
Aspartate U-13C, U-15N pos | 10.26 | Internal Standard | KD100520_100520_i24h_m | 16920275 |  | 233924806 | [13]C4H7[15]NO4 | 7162.46 | 10.277:Peak area 233924806.091 is out of bounds (ISTD Minimum Recovery 0.000 and ISTD Max Recovery 0.000). 10.277:Apex Retention Time 10.277 is out of bounds (ISTD Min RT -0.250 and ISTD Max RT 0.250)
Aspartate U-13C, U-15N pos | 10.26 | Internal Standard | KD100520_100520_i24h_v | 15496364 |  | 220656718 | [13]C4H7[15]NO4 | 7049.79 | 10.270:Peak area 220656718.240 is out of bounds (ISTD Minimum Recovery 0.000 and ISTD Max Recovery 0.000). 10.270:Apex Retention Time 10.270 is out of bounds (ISTD Min RT -0.250 and ISTD Max RT 0.250)
Aspartate U-13C, U-15N pos | 10.26 | Internal Standard | KD100520_100520_m0h_nsg | 13625771 |  | 192476822 | [13]C4H7[15]NO4 | 56789.73 | 10.264:Peak area 192476822.259 is out of bounds (ISTD Minimum Recovery 0.000 and ISTD Max Recovery 0.000). 10.264:Apex Retention Time 10.264 is out of bounds (ISTD Min RT -0.250 and ISTD Max RT 0.250)
Aspartate U-13C, U-15N pos | 10.26 | Internal Standard | KD100520_100520_m0h_nsm | 16608632 |  | 208780940 | [13]C4H7[15]NO4 | 59660.15 | 10.261:Peak area 208780939.603 is out of bounds (ISTD Minimum Recovery 0.000 and ISTD Max Recovery 0.000). 10.261:Apex Retention Time 10.261 is out of bounds (ISTD Min RT -0.250 and ISTD Max RT 0.250)
Aspartate U-13C, U-15N pos | 10.26 | Internal Standard | KD100520_100520_m0h_nsv | 15511591 |  | 200746481 | [13]C4H7[15]NO4 | INF | 10.252:Peak area 200746480.633 is out of bounds (ISTD Minimum Recovery 0.000 and ISTD Max Recovery 0.000). 10.252:Apex Retention Time 10.252 is out of bounds (ISTD Min RT -0.250 and ISTD Max RT 0.250)
Aspartate U-13C, U-15N pos | 10.26 | Internal Standard | KD100520_100520_m1h_g | 17542374 |  | 220971938 | [13]C4H7[15]NO4 | INF | 10.271:Peak area 220971938.228 is out of bounds (ISTD Minimum Recovery 0.000 and ISTD Max Recovery 0.000). 10.271:Apex Retention Time 10.271 is out of bounds (ISTD Min RT -0.250 and ISTD Max RT 0.250)
Aspartate U-13C, U-15N pos | 10.26 | Internal Standard | KD100520_100520_m1h_m | 15615550 |  | 205780300 | [13]C4H7[15]NO4 | 48331.44 | 10.265:Peak area 205780299.668 is out of bounds (ISTD Minimum Recovery 0.000 and ISTD Max Recovery 0.000). 10.265:Apex Retention Time 10.265 is out of bounds (ISTD Min RT -0.250 and ISTD Max RT 0.250)
Aspartate U-13C, U-15N pos | 10.26 | Internal Standard | KD100520_100520_m1h_v | 16352212 |  | 223227307 | [13]C4H7[15]NO4 | 94979.00 | 10.235:Peak area 223227306.580 is out of bounds (ISTD Minimum Recovery 0.000 and ISTD Max Recovery 0.000). 10.235:Apex Retention Time 10.235 is out of bounds (ISTD Min RT -0.250 and ISTD Max RT 0.250)
Aspartate U-13C, U-15N pos | 10.26 | Internal Standard | KD100520_100520_m4h_g | 14744320 |  | 207067551 | [13]C4H7[15]NO4 | INF | 10.280:Peak area 207067550.584 is out of bounds (ISTD Minimum Recovery 0.000 and ISTD Max Recovery 0.000). 10.280:Apex Retention Time 10.280 is out of bounds (ISTD Min RT -0.250 and ISTD Max RT 0.250)
Aspartate U-13C, U-15N pos | 10.26 | Internal Standard | KD100520_100520_m4h_m | 16819335 |  | 211190094 | [13]C4H7[15]NO4 | 103949.78 | 10.287:Peak area 211190094.171 is out of bounds (ISTD Minimum Recovery 0.000 and ISTD Max Recovery 0.000). 10.287:Apex Retention Time 10.287 is out of bounds (ISTD Min RT -0.250 and ISTD Max RT 0.250)
Aspartate U-13C, U-15N pos | 10.26 | Internal Standard | KD100520_100520_m4h_v | 16554245 |  | 211565980 | [13]C4H7[15]NO4 | 37882.91 | 10.263:Peak area 211565979.913 is out of bounds (ISTD Minimum Recovery 0.000 and ISTD Max Recovery 0.000). 10.263:Apex Retention Time 10.263 is out of bounds (ISTD Min RT -0.250 and ISTD Max RT 0.250)
Aspartate U-13C, U-15N pos | 10.26 | Internal Standard | KD100520_100520_m24h_g | 15701066 |  | 208560591 | [13]C4H7[15]NO4 | INF | 10.277:Peak area 208560591.050 is out of bounds (ISTD Minimum Recovery 0.000 and ISTD Max Recovery 0.000). 10.277:Apex Retention Time 10.277 is out of bounds (ISTD Min RT -0.250 and ISTD Max RT 0.250)
Aspartate U-13C, U-15N pos | 10.26 | Internal Standard | KD100520_100520_m24h_m | 15943846 |  | 210316199 | [13]C4H7[15]NO4 | INF | 10.281:Peak area 210316198.575 is out of bounds (ISTD Minimum Recovery 0.000 and ISTD Max Recovery 0.000). 10.281:Apex Retention Time 10.281 is out of bounds (ISTD Min RT -0.250 and ISTD Max RT 0.250)
Aspartate U-13C, U-15N pos | 10.26 | Internal Standard | KD100520_100520_m24h_nsg | 15971278 |  | 211989078 | [13]C4H7[15]NO4 | 36593.30 | 10.238:Peak area 211989077.709 is out of bounds (ISTD Minimum Recovery 0.000 and ISTD Max Recovery 0.000). 10.238:Apex Retention Time 10.238 is out of bounds (ISTD Min RT -0.250 and ISTD Max RT 0.250)
Aspartate U-13C, U-15N pos | 10.26 | Internal Standard | KD100520_100520_m24h_nsm | 16604148 |  | 216534211 | [13]C4H7[15]NO4 | 24256.50 | 10.269:Peak area 216534211.051 is out of bounds (ISTD Minimum Recovery 0.000 and ISTD Max Recovery 0.000). 10.269:Apex Retention Time 10.269 is out of bounds (ISTD Min RT -0.250 and ISTD Max RT 0.250)
Aspartate U-13C, U-15N pos | 10.26 | Internal Standard | KD100520_100520_m24h_nsv | 14710389 |  | 199074898 | [13]C4H7[15]NO4 | 264948.57 | 10.271:Peak area 199074898.018 is out of bounds (ISTD Minimum Recovery 0.000 and ISTD Max Recovery 0.000). 10.271:Apex Retention Time 10.271 is out of bounds (ISTD Min RT -0.250 and ISTD Max RT 0.250)
Aspartate U-13C, U-15N pos | 10.26 | Internal Standard | KD100520_100520_m24h_v | 16734110 |  | 212986533 | [13]C4H7[15]NO4 | INF | 10.278:Peak area 212986533.361 is out of bounds (ISTD Minimum Recovery 0.000 and ISTD Max Recovery 0.000). 10.278:Apex Retention Time 10.278 is out of bounds (ISTD Min RT -0.250 and ISTD Max RT 0.250)